## Sheet1
INC NO | DATE | NAME | PROD | SUB PROD | K POST | LOCATION | PROV | VAL DIST | INC TYPE | CAUSE | CONSEQ | DESCRIPT | TEMP | PRES | QTY | TI ISO | TOUGH | FR LEN | BRI LEN | COMPON | COMP SPEC | FACIL | CATH PRO | COAT | DEPTH | MANUF | INST | MAOP | TE PRES | COST | TI OUT | OTHER | NUM
| 09/10/50 | J1 | LVP | OTH |  | Edmonton Pump Station | ALB |  | D/I | MS | DCE | Operator overcome by H2S, fell and broke neck | [19 empty] | Operator did not wear mask while gauging tank containing sour crude | 1
| 15/03/62 | J1 | LVP |  | 436 |  | SAS |  | SPI | GW |  |  |  | 2586 | [5 empty] | PIP | OD=508MM | ONS | [8 empty] | 24 | Detected by landowner | 1
| 18/09/62 | J1 | LVP |  | 534 |  | SAS |  | SPI | GW |  | Crack in girth weld |  | 1379 | [5 empty] | PIP | OD=508MM | ONS | [8 empty] | 4.5 |  | 1
| 07/06/64 | J1 | LVP |  | 350 | Kerrobert Pump Station | SAS |  | EXP | HF |  |  | 20 | [6 empty] | OTH | Surge protectors in cell of switch gear | PUS |  |  |  | Westinghouse | 60 | [5 empty] | 1
| 15/10/64 | J1 | LVP |  | 835.8 | Line 31 | SAS |  | SPI | LW |  | Small leak, 1cm crack inlongitudinal weld |  | 4826 | 0.5 |  |  |  |  | PIP | OD=406MM GR=3A | ONS |  |  |  | Page Hersey Tubes | 50 |  |  |  | 3.5 |  | 1
05-65 | 03/05/65 | J1 | LVP |  |  | Cromer Pump Station | MAN |  | FIR | HF | IWE/DAP | Fire occurred during tank cleaning | [8 empty] | Fire tubes | [10 empty] | Employee burned when he stepped in hot oil | 1
71-65 | 07/12/65 | J1 | LVP |  | 466.6 | LN=2 | SAS |  | SPI | GW |  | Crack in weld | 0 | 7446 | 8 |  |  | 10 |  | PIP | OD=610MM WT=7.19MM GR=52 | ONS |  |  |  | Kaiser Corp. | 54 |  |  |  |  | Reported by landowner | 1
75-65 | 22/12/65 | J1 | LVP |  | 673.4 |  | SAS |  | SPI | GW |  | 150mm crack in girth weld | -10 | 1520 | 79.5 |  |  |  |  | PIP | OD=610MM WT=7.14MM GR=359 | ONS |  |  |  |  | 54 |  |  |  | 7 |  | 1
69-66 | 17/09/66 | J1 | LVP |  | 229.8 | Metiskow Pump Station, LN=2 | ALB |  | SPI | LW |  | Crack weld on Morrison pig split sleeve |  | 3792 | 2385 |  |  |  |  | OTH | Morrison Pig Split Sleeve | PUS |  |  |  | Cessco |  |  |  |  | 32 |  | 1
70-66 | 25/09/66 | J1 | LVP |  |  | Ketser Pump Station | ONT |  | FIR | HF | DAP | Electrical transformer failed and caught fire | [8 empty] | 440/110 Volt Transformer | PUS | [10 empty] | 1
79-66 | 27/12/66 | J1 | LVP |  |  | Regina Pump Station | SAS |  | FIR | HF | DAP | Waldron coupling failture lube oil caught fire | [7 empty] | PUE | Waldron Coupling | PUS |  |  |  | Midland-Ross Corp. |  |  |  |  | 240 | Fire extinguished bt fog system | 1
14-67 | 21/07/67 | J1 | LVP |  | 225.1 | LN=3 | SAS |  | SPI | LW | EVD | Station troubles led to overpressure which caused longitudinal | 20 | 5833 | 2385 |  |  | 283 |  | PIP | OD=864MM WT=7.13MM GR=359 | ONS |  |  |  | Alberta Phoenix Tube & Pipe Ltd. | [5 empty] | Longitudinal weld failure due to ERW process | 1
15-67 | 24/07/67 | J1 | LVP |  | 2954.1 | 8km west of Wolverton Pump Station | ONT |  | SPI | 3P |  | Contractor contacted pipe during construction |  |  | 397.5 |  |  |  |  | PIP | OD=508MM | ONS | [9 empty] | Backhoe punctured pipe | 1
16-67 | 26/07/67 | J1 | LVP |  | 286.8 | LN=3, Kerrobert Pump Station | SAS |  | SPI | LW |  | Section failed during test |  | 5860 | 397 |  |  | 304.8 |  | PIP | OD=864MM WT=7.13MM GR=359 | PUS |  |  |  | Alberta Phoenix Tube & Pipe Ltd. | 67 |  | 850 |  |  | Pipe failed during test - Longitudinal weld made using ERW process | 1
30-67 | 05/08/67 | J1 | LVP |  |  | Kerrobert Pump Station | SAS |  | SPI | HF |  | Flange leak during test using oil |  | 5860 | 111 |  |  |  |  | FIR | OD=864MM, Scraper Trap Flange | PUS | [10 empty] | 1
53-67 | 14/10/67 | J1 | LVP | MC | 1065.2 | LN=3 | MAN |  | SPI | PF | EVD | Failure of pipe during test using oil |  | 5793 | 5247 |  |  | 513.3 |  | PIP | OD=864MM WT=7.13MM | ONS |  |  |  | Stelco | 67 |  | 5257 |  |  | Pipe body failure during test, pipe bulged before fracture | 1
54-67 | 08/11/67 | J1 | LVP |  | 1060.8 | LN=3 | MAN |  | SPI | PF | EVD | Failure of pipe during test using oil |  | 5571 | 2544 |  |  |  |  | PIP | OD=864MM WT=7.13MM | ONS |  |  | 3.96 | Stelco | 67 |  | 5571 |  |  | Pipe body failure during test, pipe bulged before break | 1
01-70 | 03/01/70 | J1 | LVP |  |  | Bryanston Pump Station | ONT |  | SPI | MS |  | Gasket blown out causing release of oil |  |  | 32 |  |  |  |  | VAL | Kerotest Valve OD=406MM | PUS |  |  |  | Kerotest |  |  |  |  | 11 |  | 1
59-69 | 06/01/70 | J1 | LVP |  | 997.7 | LN=2 | MAN |  | SPI | OW | EVD | Release of oil |  |  | 1378 |  |  | 66 |  | FIT | OD=610MM Split Tee | ONS | [8 empty] | 14.5 | Crack in butt strap | 1
04-70 | 21/01/70 | J1 | LVP |  | 503 | LN=3 | SAS |  | SPI | GW | EVD | Crack in weld at valve site |  |  | 238 | DETE |  | 7.6 |  | PIP | OD=864MM | ONS | [8 empty] | 7.5 | Cited by air patrol | 1
14-70 | 29/04/70 | J1 | LVP |  | 813.4 | LN=1 | SAS |  | SPI | MS |  |  |  |  | 1 |  |  |  |  | PIP | OD=406MM | ONS |  |  |  |  | 49 | [5 empty] | 1
01-71 | 03/03/71 | J1 | LVP | HC | 1146.4 | LN=2, Between Manitou and Gretna | MAN |  | SPI | HF | EVD | Oil released in pipe fracture at area of poor fusion |  | 10411 | 635 |  |  | 208.3 |  | PIP | OD=610MM WT=12.7 | ONS | [9 empty] | Failure during hydrostatic test, control valve closed against test stream | 1
| 31/07/71 | J1 | LVP | CON | 854 | LN=1, near Kipling | SAS |  | SPI | LW |  | Split tee failre |  |  | 239 |  |  |  |  | TEE | 610MM X 406MM Split Tee | ONS | [8 empty] | 17 | Former crossover | 1
08-71 | 04/08/71 | J1 |  |  |  | Regina Maintenance Bldg. | SAS |  | FIR | MS | DAP | Leaking acetylene cylinder ignited | [9 empty] | PUS | [9 empty] | Damage to building and vehicles | 1
09-71 | 12/08/71 | J1 | LVP |  | 829 | LN=1 | SAS |  | SPI | LW |  | Lack of fusion in weldm oil released |  |  | 33 |  |  |  |  | PIP | OD=406MM | ONS | [10 empty] | 1
10-71 | 12/08/71 | J1 | LVP |  | 191 | KN=1 | ALB |  | SPI | GW |  | 1cm long crack in weld |  |  | 5 |  |  |  |  | PIP | OD=508MM | ONS | [9 empty] | On interruption service | 1
18-71 | 19/11/71 | J1 | LVP |  |  | Kerrobert Pump Station LN=3 | SAS |  | SPI | PF |  | Failure of valve assembly |  |  | 1378 |  |  | 66 |  | VAL | M&J Valve OD=863.6MM Model M-303 | PUS |  |  |  | M&J |  |  |  |  | 28 |  | 1
06-72 | 08/02/72 | J1 | LVP |  |  | Gretna Station LN=2 | MAN |  | SPI | LW |  | Crack in longitudinal weld of 152mm take off tee | [7 empty] | OTH | 329MM X 157MM Reducer | PUS | [9 empty] | Leak discovered during construction | 1
21-72 | 13/07/72 | J1 | LVP |  |  | Sarnia to Buffalo Line at Lyons Creek Road | ONT |  | SPI | LW | EVD | Crack in pipe at road crossing - 50 barrels entered creek |  |  | 32 |  |  | 274.3 |  | PIP | OD=329MM WT=6.35MM GR=359 ERW | ONS |  |  |  | Stelco | 61 |  |  |  |  | Pipe movement may have contributed to failure - Pipe weld misaligned | 1
27-72 | 13/08/72 | J1 | LVP | CON | 951 | Piepstone Creek LN=1 | MAN |  | SPI | 3P | EVD | 477m3 of condesate leaked into creek |  |  | 477 |  |  |  |  | PIP | 457.2MM | ONS | [9 empty] | Contractor backhoe on 48" looping damaged lines | 1
04-73 | 31/01/73 | J1 | LVP |  |  | Sarnia Station | ONT |  | SPI | HF |  | High level alarm failed on Tank 211 leading to overflow |  | 200 | 16 |  |  |  |  | STT | 150000 Barrel Floating Roof Tank | PIT |  |  |  | Toronto Iron Works 71 | [5 empty] | No interruption to normal operations | 1
13-73 | 14/05/73 | J1 | LVP |  |  | 5 miles south of Smithsville | ONT |  | SPI | CI | [9 empty] | PIP | 12" Idle Mainline | ONS | [9 empty] | Pinhole leak discoved during air patrol | 1
17-73 | 16/05/73 | J1 | HVP | NGL |  | Sarnia Area - Dome Plant | ONT |  | ESC | OE | OTH | Shut fown of facility, overpressure valve not reset preperly |  | 4274 | [5 empty] | OTH | Gaskets | STF | [9 empty] | Leaking gaskets in dome building due to IPL making a delivery against a closed valve | 1
39-73 | 02/06/73 | J1 | LVP | CON | 845 | LN-1 33.1km downstream of Glenavon | SAS | 33.1 | SPI | LW |  | Small split in longitudinal seam during retest | [5 empty] | 240 |  | PIP | 406.4MM Pipe | TRA | [9 empty] | Longitudinal seam split that was previously repiared failed during test. Original failure occurred in June, 1971, but not reported. | 1
22-73 | 17/07/73 | J1 | LVP |  | 475.1 | Milden Pump Station LN=3 | SAS |  | SPI | HF |  | Leak on a bearing cool line |  | 4137 | 5 |  |  |  |  | OTH | Cooling line on 16X18X20 HSU Pump | PUS |  |  |  | Bingham | 67 |  |  |  | 1.5 |  | 1
26-73 | 17/08/73 | J1 | LVP |  | 163.6 | MP 102 | ALB | 11 | SPI | 3P | EVD | Road grader struck pipe under ditch - Contractor Eq. |  | 1379 | 719 |  |  |  |  | PIP | OD=610MM WT=7.14MM GR=359 | TRA |  |  | 0.25 | A.O. Smith | 54 | [5 empty] | 1
27-73 | 27/08/73 | J1 | LVP |  | 0 | Edmonton Tank Farm LN=3 | ALB |  | SPI | OT |  | Corrosion type not identified - Tank lines |  |  | 4 |  |  |  |  | PIP | Tank Lines-OD=863MM | PUS | [10 empty] | 1
28-73 | 27/08/73 | J1 |  |  |  | Regina Pump Station | SAS |  | OTH | MS |  | Lighting strike - Damaged insulators | [7 empty] | OTH |  | PUS | [10 empty] | 1
31-73 | 02/09/73 | J1 | LVP |  | 0 | Edmonton Pump Station | ALB |  | SPI | HF |  | Failure of flange gasket |  |  | 0.1 |  |  |  |  | OTH |  | PUS | [10 empty] | 1
32-73 | 05/09/73 | J1 | LVP |  | 0 | Edmonton Pump Station | ALB |  | SPI | GW |  | LN=3 |  | 4550 | 1 |  |  | 2 |  | PIP | OD=863.5MM Transition Piece | PUS |  |  |  |  | 69 |  |  |  |  | Crack in fusion zone of weld | 1
34-73 | 09/09/73 | J1 | LVP |  | 959.6 | Cromer Pump Station LN=3 | MAN |  | SPI | HF |  | Discharge of 16m3 |  |  | 16 |  |  |  |  | VAL | 762MM | PUS |  |  |  | M&J | 67 |  |  |  |  | Crack in valve body | 1
46-73 | 07/10/73 | J1 | LVP |  | 875 | Langbank Pump Station LN=4 | SAS |  | SPI | MS |  | Leaking flange |  |  | 4 |  |  |  |  | FLA |  | PUS |  |  |  |  | 72 |  |  |  |  | Leak discovered during construction | 1
37-73 | 14/10/73 | J1 | LVP |  | 2902.6 | MP=1804 Bryanston Station | ONT |  | SPI | HF |  | 10m3 oil released due to seal failure on pumping unit |  |  | 16 | [5 empty] | Magnetrol Float Switch | PUS |  |  |  | Magnetrol Inc | 58 |  |  |  |  | Seal failure caused by abrasives in cooling liquid | 1
41-73 | 04/11/73 | J1 | N/A |  | 175.4 H | Hardisty Pump Station LN=3 | ALB |  | OTH | HF | OTH | Failure of transformer | [7 empty] | OTH | 150KVA/480V Transformer | PUS |  |  |  | Canadian Westinghouse | 71 |  |  |  |  | Reduction in throughput | 1
48-73 | 14/12/73 | J1 | N/A | N/A | 1242.5 | Gretna Pump Station | MAN |  | D/I | MS | DNW | Manitoba Hydro employee electrocuted in substation | [9 empty] | PUS | [10 empty] | 1
49-73 | 19/12/73 | J1 | N/A | N/A |  | Edmonton Pump Station LN=3 | ALB |  | EXP | HF | EXP/FIR | Failure of lightning arrestors causing short in switchgear |  |  | N/A |  |  |  |  | OTH |  | PUS |  |  |  | Federal Pioneer Ltd | 67 |  |  |  |  | Loss of trhoughput - Sever damage to 5KV cables and switchgear cells | 1
53-73 | 24/12/73 | J1 | LVP |  | 1242.5 | Gretna Pump Station | MAN |  | SPI | CI |  | Release of 47.6m3 of product | 7 | 2758 | 47.6 |  |  |  |  | PIP | OD=762MM WT=7.94MM GR=414 | PUS |  |  |  | Canadian Phoenix Steel & Pipe Ltd | [6 empty] | 1
52-73 | 24/12/73 | J1 | LVP |  | 51.1 | LN=4 Kingman Pump Station | ALB |  | SPI | HF |  | Release of of 159m3 of crude | -6 | 3758 | 159 |  |  |  |  | OTH | 36" Flextallic Gasket | PUS |  |  |  |  | 72 |  |  |  | 24 | Failure of flange gasket on discharge valve of unit 4.4 | 1
03-74 | 01/01/74 | J1 | [29 empty] | January 1974. Break repaired using sleeve and weld+end PLIDCO coupling. Failed later in 1976 (Incident No. 05-76). | 1
02-74 | 28/01/74 | J1 | LVP |  | 120.4 | 8.0km east of Strome MP74.8 NW1/4-21-45-14-W4M LN=3 | ALB |  | SPI | LW | EVD | 200' X 150' Affected |  |  | 4452 |  |  |  |  | PIP | OD=864MM | [10 empty] | Crude oil in line. Between 795 and 4452m3 of oil was dispearsed. 5' split in the longit. seam (subm. Arc mill weld). | 1
04-74 | 31/01/74 | J1 | LVP |  | 120.4 | 8.0km east of Strome LN=3 MP74.8 | ALB |  | SPI | LW |  | Spill occurred in slough area | -32 | 4137 | 1431 |  |  | 274.3 |  | PIP | OD=864MM WT=7.14MM GR=359 | TRA |  |  |  | Canadian Phoenix Steel & Pipe Ltd | 69 |  |  |  | 48 | Split in pipe adjacent to longitudinal seam. Crude oil + condensate in line. | 1
05-74 | 18/02/74 | J1 | LVP |  | 523.8 | SE1/4-21-45-14-W4M LN=3 12.9km west of Loreburn MP325.5 | SAS |  | SPI | GW | EVD | Spill contained in slough area | -29 | 4275 | 795 |  |  |  |  | PIP | OD=864MM WT=7.14MM GR=359 MPA | TRA |  |  |  | Canadian Phoenix Steel & Pipe Ltd | 69 |  |  |  | 72 | Operator inadvertantly closed off unit valves which caused a leak at a girth weld by the increase in pressure. | 1
08-74 | 24/03/74 | J1 | LVP |  |  | LN=3 Glenavon Pump Station W1/2-22-14-9-W2M | SAS |  | SPI | HF | EVD | 100ft of soil affected | -23 |  | 127 |  |  | 7.6 |  | PIP | OD=864MM Line to Scraper Detector Device | PUS |  |  |  | Sweep-O-Let Forged Steel |  |  |  |  | 15 | Crack in weld was cause of crude oil leak on yard piping (34" line to Scraper Detector Device). | 1
12-74 | 19/05/74 | J1 | LVP |  | 123.9 | SW1/4-13-45-14-W4M LN=3 MP77 | ALB |  | SPI | LW | EVD | 300' X 400' + 600' X 200' areas of soil affected | 11 | 3241 | 1910 |  |  | 183 |  | PIP | OD=864MM WT=7.14MM GR=359 MPA | TRA |  |  |  | Canadian Phoenix Steel & Pipe Ltd | [5 empty] | 6' split in longitudinal seam. | 1
24-74 | 12/07/74 | J1 | LVP | CON | 699.9 | Regina LN=1 MP434.9 | SAS |  | SPI | HF | EVD |  | 23.9 | 1930 | 19.1 |  |  |  |  | FIT | OD=6.35MM Nipple | TRA |  |  |  | Ohmart Gravitometer | [5 empty] | Metal fatigue. Broken pipe nipple on inlet side of relief valve. | 1
26-74 | 26/07/74 | J1 | LVP |  | 948.2 | SE1/4-5-10-29-W9M MP589.2 | MAN |  | SPI | PF | EVD |  | 15.5 |  | 31.8 |  |  | 13.8 |  | PIP | OD=864MM WT=7.14MM GR=359 MPA | TRA |  |  |  | Stelco |  |  |  |  | 6 | Imperfection in pipe steel. | 1
27-74 | 28/07/74 | J1 | LVP |  |  | Gretna Pump Station | MAN |  | SPI | LW |  |  |  | 2379 | 318 |  |  | 20.3 |  | PIP | OD=219.1MM, Interconnecting Relief Line | PUS | [9 empty] | 8" X 3" wide, split in pipe on the longitudinal seam on the interconnecting relief line between stations 1 &3. | 1
29-74 | 06/06/74 | J1 | LVP |  |  | St. Lawrence River Crossing, Town of Montreal East | QUE | [7 empty] | 0.3 | [17 empty] | 1
37-74 | 17/10/74 | J1 | LVP |  | 112.2 | MP69.71, Strome Pump Station, LN=3, LSD-2-46-15-W4M | ALB |  | SPI | HF | N/A | Spill contained on station |  | 552 | 64 |  |  |  |  | OTH | "O" Ring between hydraulic cylin. And valve bonnet | PUS | [8 empty] | 10.5 | "O" Ring between hydraulic cylinder and valve bonnet failed. Mixed blend in line. | 1
01-75 | 09/12/74 | J1 | LVP |  | 250.3 | MP155.56 | ALB |  |  | HF | [22 empty] | 1
| 04/03/75 | J1 | LVP |  | 0 | Edmonton Terminal | ALB |  | ESC | MS | ICE/FIR | 2 employees burned in maintenance accident. | -4 | N/A | 0.3 | [6 empty] | PUS | [9 empty] | Release of NGL while removing an ice plug. | 1
21-75 | 09/06/75 | J1 | LVP |  |  | Gretna Pump Station | MAN |  | SPI | OW | N/A | Contained on station |  |  | 31.8 |  |  |  |  | TEE | OD=863.6MM X OD=323.9MM Split Tee | PUS | [9 empty] | Crack in the weld of the check plate on a split tee. | 1
22-75 | 12/06/75 | J1 | LVP |  |  | Sarnia Pump Station and Terminal, Tank #210 | ONT |  | FIR | MS | N/A | Roof seal damaged due to lightning strike |  |  | N/A |  |  |  |  | STT | CAP=23850 M3 | STF | [9 empty] | Crude oil. | 1
24-75 | 28/07/75 | J1 | LVP |  | 407.8 | MP253.4, LN=3. SE1/4-24-31-17-W3M | SAS |  | SPI | LW | EVD | 8 acres of crop land damaged |  |  | 795 |  |  | 152.4 |  |  | OD=864MM | [11 empty] | 1
| 22/12/75 | J1 | LVP |  | 699.9 | Regina Station | SAS |  | ESC | MS | ICE/FIR | Employee burned | [9 empty] | PUS | [9 empty] | Ignition of gasoline during sampling. | 1
28-76 | 01/01/76 | J1 | [29 empty] | Sometime in mid-August of 1976 this incident occurred. | 1
05-76 | 08/03/76 | J1 | LVP | CON OTH | 121 | MP 75.21 Approximately 5 miles downstream of Strome LN=3 | ALB |  | SPI | OW | DCE IWE EVD | 7 employees injured, 2 deaths, 5.6 acres of land affected | -20 | 1896 | 2385 | 3.75 |  |  |  | PIP FIT | WELD+END Coupling on OD=864 WT=9.91MM GR=359 Pipe | TRA |  |  |  | Plidco | 74 |  |  |  |  | Crude oil and condensate in line. Caused by pre-existing flaw and inadequate pipe support. Crack in the fillet weld of a weld+end coupling. 1590 to 6360 m3 dispersed. Ignited during clean-up operations. Full metallurgical report available. | 1
20-76 | 26/05/76 | J1 | LVP |  | 555.2 | MP345 Sarnia/Montreal Line, Eastof Gananoque River | ONT |  | SPI | CD | N/A | Leak during linefill |  |  | 0.3 |  |  |  |  | PIP | OD=762MM WT=6.35MM | TRA | [9 empty] | Line pipe resting on rock. Crude oil in line. | 1
21-76 | 22/06/76 | J1 | LVP |  | 3054 | MP 1898.2 Port Credit, Texaco Refinery | ONT |  | SPI | 3P | N/A | Contained on site |  |  | 7.9 |  |  |  |  | PIP | OD= 508MM | OTH | [9 empty] | Dozer hit line. | 1
44-76 | 04/12/76 | J1 | LVP |  | 678.9 | Gretna Pump Station MP 422.4 | MAN |  | SPI | HF |  | 10-15 barrels released |  |  | 2 |  |  |  |  | VAL | Bonnet Gasket on 12" Gate Valve OD=273.1MM | PUS | [9 empty] | Valve malfunction. | 1
41-76 | 11/12/76 | J1 | LVP |  | 3486 | MP 2166 LOT=26, CON=6, TSP=Cornwall | ONT |  | SPI | CD | N/A |  |  | 1724 | N/A |  |  |  |  | PIP | OD=762MM WT=6.35MM GR=359 | TRA |  |  |  | Welland Tube Manufacturer | [5 empty] | 3.175cm dent in pipe. Mixed blend in pipe. | 1
43-76 | 12/12/76 | J1 | LVP |  |  | Edmonton Tank Farm | ALB |  | SPI | [12 empty] | STF | [9 empty] | Crude oil in pipe. | 1
02-77 | 01/02/77 | J1 | LVP |  |  | Sarnia Tank Farm Tank #211 | ONT |  | SPI | HF | N/A | Spill contained in dyke area |  |  | 15.9 |  |  |  |  | STT | 150,000 BBL Capacity CAP = 23800m3 | STF | [8 empty] | N/A | Sour crude in line. Tank Overflow. Malfunction of automatic tank gauging system. | 1
03-77 | 15/02/77 | J1 | LVP |  |  | Glenavon Pump Station | SAS |  | SPI | OE | N/A | Diesel fuel oil tank leaked 1109 barrels |  |  | 238 | [16 empty] | Oil in line. Leak in fuel tank. | 1
10-77 | 06/04/77 | J1 | LVP |  |  | Cromer Pump Station | MAN |  | SPI | HF | N/A | Spill contained on station | 5 | 345 | 31.8 |  |  |  |  | PIP | OD=610MM WT=8.43MM GR=241 | STF PUS |  |  |  |  | 56 |  |  |  |  | Leak on tank line caused by corrosion. 1/2" diameter. | 1
13-77 | 13/05/77 | J1 | LVP |  |  | Regina Tank Farm Tank #74 | SAS |  | SPI |  | N/A | Spill contained in dyke area |  |  | 7.9 |  |  |  |  | STT | DIA=33.5 HIGH=14.6 CAP=12700m3 | STF |  |  |  | Sparling Davis | 52 |  |  |  | 24 | Crude oil in tank. Leak in floor. | 1
12-77 | 03/06/77 | J1 | LVP |  |  | Edmonton Tank Farm | ALB |  | SPI | CI | N/A | Spill contained in dyke area |  | 345 | 79.5 | [5 empty] | OD=864 WT=8.43MM GR=359 | [5 empty] | 67 |  |  |  | N/A | Crude oil in line. Leak on the 34" OD line. | 1
22-77 | 10/07/77 | J1 | OTH | OTH | 175.4 | Hardisty Pump Station MP 109 | ALB |  | SPI | PF |  |  |  | 8487 | 1590 | [16 empty] | Pipe split on the hydrostatic retest. Water in line. | 1
30-77 | 01/08/77 | J1 | LVP |  |  | Craik Pump Station, LN=3 | SAS |  | SPI | CI | N/A | 100 barrels spilled. Spill contained on site. | 10 |  | 15.9 |  |  |  |  | PIP | OD=610MM WT=12.7MM GR=359 Bypass Line | PUS | [8 empty] | 17 | Crude oil in line. Internal corrosion. | 1
31-77 | 02/08/77 | J1 |  |  |  | Clarkson Terminal | ONT |  | SPI | OE | N/A | Spill contained in dyke area | [19 empty] | Overflow of tank operated by Gulf Oil. | 1
32-77 | 09/09/77 | J1 | N/A | N/A |  | Glenboro Pump Station | MAN |  | OTH | MS | N/A | Switchgear severly damage | 15 |  | N/A | [16 empty] | Fire in electrical cubicle caused by short due to moisture. | 1
46-77 | 23/11/77 | J1 | LVP |  |  | Craik Pump Station | SAS |  | SPI | HF |  |  |  |  | 6.4 | [16 empty] | Seal failure. Crude oil in line. | 1
23-78 | 01/01/78 | J1 | [30 empty] | 1
10-78 | 14/06/78 | J1 | LVP |  |  | LOT=34 CON=6, Lancaster, 6 miles from Ontario-Quebec border MP=2189 | ONT |  | SPI | 3P | EVD | 3 to 4 acres of cultivated land affected |  | 2654 | 2544 |  |  |  |  | PIP | OD=762MM WT=6.35MM GR=359 | TRA |  |  |  | Stelco Welland | 75 |  |  |  | 48 | Gouge in pipe. Domestic oil. | 1
09-78 | 14/06/78 | J1 | LVP |  | 3471 | LOT=21 CON=3 TSP=Osnabrook CTY=Stormont, 100ft east ofDickenson Rd, MP 2158 | ONT |  | SPI | PF | N/A |  |  |  | 0.16 |  |  | 0.95 |  | PIP | OD=762MM WT=6.35MM GR=359 | TRA |  |  |  | Stelco Welland | 75 |  |  |  | 72 | Crude oil in line. Crack in dent. Pipe on rock. | 1
28-78 | 18/10/78 | J1 | LVP |  |  | Clarkson Terminal | ONT |  | SPI | MS | EVD | Some damage to adjacent land, 20 barrels released. | 1037 | 233.2 | [5 empty] | OTH | Instrument Line 2"X0.5" DIA., screwed ends | [5 empty] | 66 |  |  |  | 4 | Ruptured instrument line, deteriorated due to age. Rubber and metal reinforced standard hydraulic hose. Blend in line. | 1
29-78 | 23/10/78 | J1 | LVP |  | 112.2 | Strome Pump Station, LN=3, Pump Unit 3.2, MP 69.7 | ALB |  | SPI | HF | EVD | Spill contained on station site and in road ditch beside station | 3 |  | 16 |  |  |  |  | PUE | John Crane Type "8B" 4.75" | PUS | [8 empty] | 12 | Seal failure on line 3 pump unit 3 2. 229 PSI suction and 465 PSI discharge. | 1
30-78 | 31/10/78 | J1 | LVP |  | 2961.8 | Wolverton Pump Station, MP 1840.37 | ONT |  | SPI | HF | EVD | Oil contamination of land adjacent to station, 50 barrels released. | 15 | 6619 | 7.9 |  |  |  |  | VAL | Steel tubing 0.5" DIA on station side of pressure control valve | PUS | [8 empty] | N/A | Leak caused by age, vibration and settlement. Crude oil in line. | 1
37-78 | 25/12/78 | J1 | LVP |  |  | Cromer Pump Station | MAN |  | SPI | HF | N/A | Spill contained in meter building |  |  | 17.5 |  |  |  |  | OTH | Gasket on meter strianer | [10 empty] | Gasket failure, on strainer | 1
02-79 | 08/01/79 | J1 | LVP |  | 2989.4 | LOT=9 CON=6 TSP=Flamborough, Hamilton Wentworth near Brock Road, MP 1857.5 | ONT |  | SPI | PF | N/A | Spill contained on row with no injuries | 15 | 2964 | 0.3 |  |  | 0.3 |  | PIP | OD=762MM WT=7.92MM GR=359 | TRA |  |  |  | Stelco | 74 |  |  |  | 2 | Leak was due to small crack from line resting on a rock. | 1
03-79 | 09/01/79 | J1 | LVP |  |  | Hardisty Pump Station LN=1 | ALB |  | OTH | HF | N/A | Engine destroyed, no injuries or environmental damage |  |  | N/A |  |  |  |  | PUE | 8 cyl. Algo Diesel Engine, Model 539, 1000BHP | PUS |  |  |  |  | 52 |  |  |  | 1440 | Number 6 piston broke, connecting rod destroyed the cylinder liner and engine block, refined oil products in line. | 1
09-79 | 26/02/79 | J1 | LVP |  |  | St. Leon Pump Station | MAN |  | SPI | HF | N/A | Oil sprayed within the St. compound & Manitoba Hydro Station |  |  | 54 |  |  |  |  | FIT | 12.7 MM Nipple | PUS | [9 empty] | Cracked nipple on pressure transmitter line allowed oil to be sprayed within the station compound. Crude oil in line. | 1
11-79 | 29/03/79 | J1 |  |  |  | LN=9 KP=17777 | ONT |  | 3P | [5 empty] | 0.32 |  |  |  |  | FIT |  | FIT |  |  |  | Plidco Sleeve | [5 empty] | A pressure vessel sleeve installed, gouge on inside of pipe due to pigging. | 1
13-79 | 13/04/79 | J1 |  |  | 3466.5 | LOT=34 CON=3, Regional Municipality Osnabrook MP 2154 | ONT |  |  | PF |  |  |  |  | 0.1 | [5 empty] | OD=762MM WT=6.35MM | [10 empty] | Hairline crack in a dent | 1
15-79 | 20/04/79 | J1 | LVP |  |  | Glenavon Pump Station | SAS |  | SPI | MS | N/A | No injuries or environmental damage |  |  | 6.5 | [16 empty] | Seal failure causing sump to overflow. Crude oil in line. | 1
25-79 | 01/07/79 | J1 |  |  |  | Bronte Terminal | ONT |  |  | HF |  |  |  |  | 30 | [16 empty] | Sump overflow. | 1
26-79 | 04/07/79 | J1 | LVP |  | 5.6 | LN=3 Sherwood Park Subdivision M P3.5 | ALB |  | SPI | LW |  | Spill occurred and was contained in slough area |  |  | 2000 | [16 empty] | Crude oil in line. Crack in toe of longitudinal seam. | 1
43-79 | 29/11/79 | J1 |  |  |  | 180 metres east of Glenboro Pump Station | MAN |  | SPI | CI | N/A |  |  |  | 80 | [5 empty] | WT=12.7, Discharge piping for Unit 4.1 | [9 empty] | 6 | Idle pipe failed due to corrosion | 1
46-79 | 05/12/79 | J1 |  |  |  | Bronte Junction | ONT | [7 empty] | 8 | [5 empty] | Instrument Line | [11 empty] | 1
02-80 | 23/01/80 | J1 | HVP | NGL | 762 | Odessa Pump Station MP 473.47 | SAS |  | FIR | MS | FIR |  | 2 | 1619 | [5 empty] | VAL | 12.7MM cooling line | PUS |  |  |  |  | 73 |  |  |  |  | Electric arc on cooling line caused leak and fire. | 1
05-80 | 29/01/80 | J1 | HVP | NGL |  | Langbank Pump Station | SAS |  | ESC | HF |  |  | -4 | 2756 | [5 empty] | PUE | 12.7MM nipple seal on a Byron Jackson Pump | PUS |  |  |  |  | 74 |  |  |  | 4 | Seal failure. | 1
13-80 | 21/05/80 | J1 | LVP |  | 229.8 | Metiskow Pump Station | ALB |  | INT | HF | FIR EVD | Fire damage to grass and bush |  | 3497 | N/A |  |  |  |  | OTH | Electrical components | PUS | [9 empty] | Electrical fire in cubicle #3. | 1
20-80 | 16/06/80 | J1 | LVP |  | 2795 | Take Off to the Sun Oil Refinery in Sarnia, MP 1736.48 | ONT |  | SPI | OW | N/A | Spill contained on station site | 14 | 103 | 1 |  |  |  |  | ELB | OD=610MM WT=7.13MM GR=359 | PUS |  |  |  |  | 58 |  |  |  |  | Crude oil in line. Delivery line in pump station. | 1
24-80 | 25/08/80 | J1 | LVP |  | 740.2 | Davin LN=2 MP 459.94 | SAS |  | SPI | OW | EVD | 60ft2 of land affected | 9 | 3769 | 2.4 |  |  |  |  | TEE | OD=610MM X 610MM X 152MM split tee | TRA | [9 empty] | Crude oil in line. Leak in longitudinal fillet weld on split tee. | 1
31-80 | 03/10/80 | J1 | LVP |  |  | Sarnia Tank Farm | ONT |  | SPI | OE | N/A | Spill contained in dyke area | 15 |  | 1.6 |  |  |  |  | VAL | 6" valve | STF | [9 empty] | 6" draw off valve left open. Crude oil in line. Static pressure only. | 1
| 25/11/80 | J1 | LVP |  |  | Loreburn | SAS |  | SPI | LW |  | Loss of power | [8 empty] | Lightning arrestor | [10 empty] | Reduced output. | 1
03-81 | 08/02/81 | J1 | HVP | NGL |  | Glenavon Pump Station | SAS |  | SPI | HF |  | NGL release | 20 | 3723 | 0.8 |  |  | N/A |  | VAL | Valve O-Ring stem seal on the DN600 ANSI GROVE SUC | PUS | [8 empty] | N/A |  | 1
08-81 | 16/03/81 | J1 | LVP | HC |  | Regina Terminal Tank #74 | SAS |  | SPI | CI | N/A | Spill contained in dyke area |  |  | 1.6 |  |  | N/A | N/A | STT | DIA=33.5MM CAP=127000m3 | STF | [9 empty] | Static head pressure only. | 1
| 04/08/81 | J1 | LVP |  |  | Bryanston Pump Station | ONT |  | SPI | HF | N/A | Riptured cooling hose on Unit 1.1 | 20 | [7 empty] | D.C. Charger | [9 empty] | 11 | DC power failure caused pump to be shut in. | 1
18-81 | 23/07/81 | J1 | LVP |  |  | Sarnia Pump Station LN=9 | ONT |  | SPI |  | N/A | [8 empty] | MAN | WT=7.94MM | PUS | [8 empty] | 24 | Leak in manifold piping. | 1
24-81 | 10/09/81 | J1 | LVP |  |  | Cromer Pump Station LN=3 | MAN |  | SPI | 3P | N/A | Spill contained in station | 26 | 1400 | 12 |  |  | N/A | N/A | VAL | 127MM NPT pipe on Block+Bleed System Val. No. G-31 | PUS | [8 empty] | 2 | Employee hit Block+Bleed valve while mowing grass. Crude oil in line. | 1
25-81 | 11/09/81 | J1 | LVP |  |  | Gretna Pump Station | MAN |  | SPI | CI | N/A | Spill contained on station | 10 | 2413 | 0.4 |  |  | N/A | N/A | PIP | OD=1219MM WT=10.32MM GR=359 | PUS |  |  |  | Mitsui Japan |  |  |  |  | 11 | 48 inch loop. Crude oil in line. Internal corrosion. | 1
29-81 | 24/10/81 | J1 | LVP |  | 142 | LN=3 between Strome and Hardisty, MP=87 | ALB |  | OTH | OE | OTH | Line shut down | N/A | N/A | N/A |  |  | N/A | N/A | OTH | TD Williamson Stopple Ram OD=864MM | TRA | [8 empty] | 48 | Employee lost TD Williamson completion plug in pipeline. Crude oil in pipe. | 1
13-82 | 19/05/82 | J1 | HVP | NGL | 441 | MP 274, 103 miles east of Alberta/Sask Border | SAS |  | ESC | GW |  | 4.6m2 of land affected | 10 | 3240 | 30 |  |  |  |  | PIP |  | TRA | [8 empty] | 13.5 | Circumferential butt weld. Pinhole. | 1
17-82 | 27/06/82 | J1 | LVP | LC | 101.19 | West of Strome | ALB |  | SPI | OP | EVD | 5 acres of farm land affected |  |  | 12 |  |  |  |  | PIP | OD=864MM WT=7.14MM GR=359 (X52) | TRA |  |  |  | ALB Phoenix Tube & Pipe |  |  |  |  | 24 | Over pressure thermal expansion. | 1
24-82 | 25/08/82 | J1 | LVP |  |  | Cromer Pump Station LN=1 | MAN |  | OTH | MS | N/A |  |  | N/A | N/A |  |  | N/A | N/A | OTH | 4160 volt to 2400 volt 1200 KVA electrical power | PUS |  |  |  | Federal Pioneer |  |  |  |  | 76 | Tank Farm shut down, possible lightning strike. | 1
31-82 | 11/12/82 | J1 | LVP |  |  | Regina Pump Station and Terminal LN=2 | SAS |  | SPI | GW | N/A | Spill contained on pump station | -27 | 3585 | 200 |  |  | 2.5 |  | TEE | 610MM X 610MM X 406MM TEE, 406MM 600 Grinwel | PUS | [8 empty] | 24 | Crude oil line. | 1
04-83 | 16/02/83 | J1 | HVP | NGL CON | 82.9 | Near Strome LN=1 MP 50.75 | ALB |  | SPI | OW |  |  |  | 3620 | [5 empty] | FIT PIP | OD=508MM WT=12.7MM A516 GR=483 Sleeve; WT=7.92MM API 5LX-X52 Pipe | [5 empty] | 82 | 6522 | 8701 |  |  | Pipe installed in 1950. Sleeves installed 09 Feb 1982 to correct pitting corrosion problems. Failure of fillet weld. | 1
06-83 | 12/03/83 | J1 | LVP |  |  | Loreburn Pump Station LN=2 | SAS |  | SPI | MS | N/A | Leak contained on pump station site | -4 | 1950 | 8 |  |  |  |  | PIP | OD=60.3MM WT=5.54MM Sump Pump Discharge Line | PUS | [8 empty] | 48 | Leak caused by ice in line. Leak occurred in sump pump discharge line. Crude oil being shipped. | 1
08-83 | 30/03/83 | J1 | LVP |  |  | Glenavon Pump Station LN=3 | SAS |  | SPI | GW | N/A | Contained inside pump station site | -5 | 3847 | 8 |  |  | 15 |  | ELB | 15' Elbow OD=864MM | PUS | [8 empty] | 72 | Crack in circumferential weld on elbow on station manifold piping. Crude oil transported | 1
10-83 | 07/04/83 | J1 | HVP | NGL | 740.2 | Davin near Regina KP740.2 LN=1 | SAS |  | SPI | OW | ENV | 300m2 of pasture land | -5 | 2400 | 19 |  |  | 10 |  | TEE FIT | OD=406MM X 406MM X 324MM WT=14.27MM split tee on pipe 406.4 WT=9.53MM | [5 empty] | 53 |  | 5040 |  | 48 | Crack in fillet weld of mainline pipe tee installed as part of a hot tap assembly. | 1
27-84 | 22/10/84 | J1 | LVP | LC | 1023.3 | 20 miles south west of Brandon MP 636 5 miles west of Souris P.S. | MAN |  | SPI | JF | N/A |  | 2 | 1655 | 3.2 |  | N/A | N/A | N/A | VAL | 12.7MM Block+Bleed valve on transmission line | TRA | N/A | N/A | N/A | Dynaquip |  |  |  |  | 24 | Failure of threads and loss of ball component in Block+Bleed valve during inspection. | 1
28-84 | 30/10/84 | J1 | LVP | DF |  | Gretna Pump Station Tank #115 | MAN |  | SPI | OE | N/A | Spill contained in dyke area | -10 | N/A | 500 |  | N/A | N/A | N/A | STT | DIA=30.5 M High=12.2 M | STF | N/A | N/A | N/A | CBI Horton | 83 | N/A | N/A |  | N/A | Calibration error. Tank overflowed. | 1
31-84 | 24/11/84 | J1 | LVP | HC | 191.1 | 10 miles east of Hardisty Pump Station LN=2 KP191.1 SE1/4-33-41-8-W4M | ALB |  | SPI | LW | EVD | Pasture land affected by spill | -10 | 5934 | 945 |  |  | 180 |  | PIP | OD=610MM WT=7.1MM GR=359 (X52) | TRA |  |  |  |  | 52 |  |  |  | 24 | 1.8 metre along longitudinal seam. | 1
32-84 | 07/12/84 | J1 | LVP |  | 351.3 | Kerrobert Pump Station | SAS |  | SPI | GW | N/A | Spill contained on pump station | 0 | 2413 | 3 |  |  | 10 |  | TEE | OD=836.6MM X 863.6MM X 863.6MM WT=12.7 | PUS |  |  |  |  | 69 |  |  |  | 24 | Sweet crude. Crack in haz of weld. | 1
03-85 | 24/01/85 | J1 | LVP | LC | 703.1 | 0.9km upstream of Regina Terminal, LN=3 | SAS |  | SPI |  | EVD | Soil damage in immediate area of leak | -10 | 1724 | 24 |  |  |  |  | PIP | OD=864MM WT =7.14MM Grade=359 (5LX-52) | TRA | [8 empty] | N/A | Leak on Idle Line #3 inside casing pipe under railroad spur line. | 1
05-85 | 13/02/85 | J1 | LVP | OTH | 998 | 33km upstream of West Souris Pump Station LN=2 KP977.81 | MAN |  | SPI | OW | EVD | 46MM X 46MM soil damage, 16m3 of oil lost. | -17 | 4237 | 80 |  |  | 30.4 |  | OTH | Sleeve WT=15.9MM Grade=206.7 MPA | TRA |  |  |  | Morrison |  |  |  |  | 48 | Leak on longitudinal fillet weld of Morrison Sleeve, crude oil blend. | 1
06-85 | 19/02/85 | J1 | HVP | NGL CON | 82.37 | 28.05km upstream of Strome Pump Station near Camrose LN=1 MP 51.18 | ALB | 14.7 | ESC | OW | ICE DCE FIR EXP | NGL mix ignited by unknown source, killing 2 men, severly burning 3 others. 1.21 hectares of land burned. | -5 | 4756 | 2800 |  |  | 48 | 48 | PIP FIT | Sleeve on OD=508MM WT=7.92MM GR=359 (API 5LX-52) flash-welded pipe | TRA |  |  |  | Pipe: A.O. Smith Sleeve: | 73 | 6521 | 8673 |  | 96 | Cause was determined as a crack in heat affected zone of a repair sleeve on mainline installed to comensate for external damage. Pipe installed in 1950. Major incident. | 1
15-85 | 07/06/85 | J1 | LVP |  |  | Metiskow Pump Station, LN=2 | SAS |  | SPI | HF | EVD | Oil sprayed on road was cleaned up with steam truck, .5m3 of condensate lost. |  |  |  |  | N/A | N/A | N/A | VAL | Pressure control valve gasket failre | PUS | N/A | N/A | N/A | [5 empty] | 13 |  | 1
19-85 | 20/08/85 | J1 | LVP |  | 875.2 | Langbank Pump Station LN=3 | ONT | 0 | SPI | 3P | N/A | 16.2m3 of crude spilled but confined to station. |  |  | 16.3 |  |  |  |  | FIT | 24.4MM nipple on OD=914MM LN=3 | PUS |  |  | N/A | [5 empty] | 24 | Contractor struck nipple on Line 3 Discharge Line. | 1
22-85 | 15/09/85 | J1 | LVP |  | 45.2 | LN=2 6km upstream of Kingman Pump Station, KP45.2 | ALB |  | SPI | 3P | FIR DAP | Damage to contractor's dozer, fire damage to hydro lines | 16 | 1102 | 300 |  |  | 25 |  | PIP | OD=610MM WT=7.14MM | TRA | [8 empty] | 48 | 100MM X 250MM hole. Dozer struck pipeline during grading. Major Incident. | 1
30-85 | 27/11/85 | J1 | LVP | CON | 14.2 | 8 miles east of Edmonton Pump Station LN=2 MP 8.8 | ALB |  | SPI | OW | EVD | One acre of land affected, in wooded area & pond. | -30 | 5443 | 500 |  |  |  |  | PIP OTH | OD=610MM WT=7.14MM 0m long repair sleeve | TRA |  |  |  |  | 74 |  |  |  | 24 | Crack in heat affected zone on weld between mainline pipe and full encirclement repair sleeve. Sleeve at road crossing. | 1
02-86 | 10/02/86 | J1 | LVP | LC | 112.2 | Strome Pump Station | ALB |  | SPI | HF | EVD | One acre of land was lightly sprayed with oil | -10 | 3400 | 320 |  |  | N/A | N/A | PUE | Nipple on bearing cooling line | PUS | [8 empty] | 24 | Cracked nipple on bearing cooling line connecting to the pump casing on Unit 3.5 | 1
09-86 | 12/06/86 | J1 | LVP | OTH |  | Gretna Station LN=3 | MAN |  | SPI | IC | N/A | Spill contained on company property | 20 | 2411 | 207 |  |  |  |  | PIP FIT | OD=762MM Repair Sleeve | PUS |  |  |  | Plidco |  |  |  |  | 27 | Internal corrosion hole in weld area of a Pildco Repair Sleeve. Apprx. 26m of new pipe installed. Mixed blend in line. Idle section of 30" line. | 1
12-86 | 12/08/86 | J1 | LVP |  |  | Edmonton Terminal Tank #25 | ALB |  | SPI | MS |  | Confined to terminal | 16 | 103 | 55 |  |  |  |  | FIT | OD=114.3 flexible hose | PIT STF | [9 empty] | Crude oil spill. Temporary 4" flexible hose burst. | 1
14-86 | 29/09/86 | J1 | LVP |  |  | Clarkson Terminal | ONT |  | SPI | OE | EVD | Environmental damage to an area of 465m2 of grass land |  | 173 | 1 |  | N/A | N/A | N/A | OTH | Relief Tank High Level Alarm | PIT STF | N/A | N/A | N/A | [6 empty] | A Petro Canada owned relief tank and sump pump system were involved in the accident spill caused by the failure of Relief Tank High Level Alarm. Leduc blend in line. | 1
15-86 | 06/10/86 | J1 | LVP |  |  | Edmonton Terminal Tank #24 | ALB |  | SPI | MS |  | Spill contained on tank lot |  | 103 | 32 |  | N/A | N/A | N/A | STT |  | PIT | [9 empty] | Steel floor plate developed a leak. Upon completion of tank bottom cleaning the floor will be inspected, and repairs made. Sweet mixed blend crude. | 1
25-85 | 19/11/86 | J1 | LVP | CON | 42.3 | LN=2 MP 26.3 SW1/4-22-49-21-W4M | ALB |  | SPI |  |  | Crude contained on row, 19m3 of contaminated soil removed. | -19 | 2999 | 1 |  |  | 7.6 |  | PIP | OD=610MM WT=7.14MM | TRA | [8 empty] | 24 | Condensate crude in line at time of leak. Line 1,2 & 3 shut down for about 1 hour. 35" Plidco Spilt Sleeve installed in repair. Leak through a 3" crack at 11 o'clock position. | 1
27-86 | 07/12/86 | J1 | LVP | MC |  | Odessa Pump Station, LN=2 | SAS |  | EXP OTH | HF | EXP FIR DAP | Electrical cubicle and pump room damaged. Switch gear, pump unit and driver destroyed. Some buildings suffered fire damages. | -10 |  | 0.25 |  |  |  |  | OTH | D.C. Charger and relay | PUS |  |  |  | Bingham Pump G.E. Motor 2500HP | [5 empty] | Electrical failure in electrical cubicle resulted in pump seal failure and power surge to switch gear. | 1
04-87 | 31/01/87 | J1 | LVP | HC |  | Cromer Pump Station - Booster Pump No. 16 | MAN |  | SPI | CI |  | Crude contained within tank berms around tank lots 94 & 103 | -5 | 175 | 30 |  |  |  |  | PIP | OD=610MM | PUS | [9 empty] | Leak occurred on discharge side of Line 2. Two internal corrosion holes approx. 15 metres apart near the 6 o'clock position. A pipeline sleeve was bolted over the pipe at each corrosion hole. | 1
03-87 | 01/02/87 | J1 | LVP |  |  | Kerrobert Pump Station at Valve No. 4.2 | SAS |  | SPI | JF | N/A | Oil was dispersed into the soil. Approx. 0.5m3 | -10 | 2860 | 7 |  |  |  |  | OTH | 610MM Gasket | PUS | [9 empty] | Gasket leak occurred on a flanged check valve on the section of Valve No. 4.2. No interruption in service since 1219MM Kerrobert Loop was not in service. | 1
07-87 | 06/03/87 | J1 | LVP | LC |  | S.E. 1/4 SEC .5, TWSP .53, Range 23 West of 4th Meridian, Edmonton Terminal | ALB |  | SPI | MS |  | Approx. 1m3 crude absorbed into the soil. Sump tank overflowed | -8 | 350 | 6 |  |  |  |  | OTH |  | PIT | [9 empty] | Strainer drain valve was left open on a metre run. The high sump alarm failed to function. | 1
11-87 | 20/04/87 | J1 | LVP | LC |  | Metiskow Station - Line 3 | ALB |  | SPI | MS | DAP | All spilled crude oil contained within company property and 2 m3 of oil was absorbed by soil. | 10 | 4137 | 10 |  |  |  |  | PUE |  | PUS | [9 empty] | Outboard bearing pump seal (4.75") Unit No. 3.1 on Line 3 failed. | 1
14-87 | 14/05/87 | J1 | LVP |  |  | Sarnia Tank Farm Tank #210 | ONT |  | FIR | EM | N/A | Fire caused by lightning strike |  | 0 | [5 empty] | PUE | CAP. 150,000 BBL, 150 ' X 48' | PIT |  |  |  | Toronto Iron Works | 71 |  |  |  |  | 1/4 of the primary roof seal was destroyed and tank painting was affected in the inner one quarter position of the shell roof containment. | 1
22-87 | 31/07/87 | J1 | LVP | NGL |  | Langbank Pump Station, Unit 1.1 | SAS |  | ESC | HF |  |  | 20 | 3240 | 0.15 |  |  |  |  | PUE | 20" Check Valve, Orafice Plate Assembly | PUS | [8 empty] | 192 | Gaskets on either side of the office plate were replaced and the small indent on the check valve flange also repaired. Langbank was on bypass. | 1
26-87 | 09/08/87 | J1 | LVP | HC |  | Loreburn Pump Station | SAS |  | OTH | HF | DAP | Some crude spilled on property of E. Mclean, no crop damage | 25 | 1862 | 8 |  |  |  |  | PUE | Unit 4.3 | PUS | [9 empty] | Leak was caused by the failure of the pump main seal. Upon seal failure 'lockout' both suction and discharge valves closed and prevented leakage. | 1
35-87 | 16/10/87 | J1 | LVP |  |  | Sarnia Terminal Manifold Piping | ONT |  | OTH | CE | DAP | Stormwater drainage system dyked off and a temporary containment constructed around around affected 15m2 area | 15 | 172.3 | 20 |  |  |  |  | MAN | 30" DIA section of manifold piping | PIT | [8 empty] | 10 | A 12" Plidco Repair Sleeve was temproarily installed over the leak. A Line 7 scheduled shutdown was used to complete the repair. | 1
37-87 | 28/10/87 | J1 | LVP |  |  | MP 651.2 | MAN |  | OTH | LW | DAP | Crude oil spilled on the right-of-way and maintenance area of the leak | 10 | 2068 | 1.6 |  |  | 16 |  | PIP | Line 2, 24" DIA | TRA | [8 empty] | 8 | A Plidco Repair Sleeve was installed and welded to complete the repair on the pinhole leak on 24" O.D. Line. | 1
02-88 | 26/01/88 | J1 | LVP | HC |  | Kerrobert Terminal Tank #52 | SAS |  | SPI | OE | DAP | Spilled oil contained within the tank lot on company property. |  |  | 90 |  |  |  |  | STT |  | STF |  |  |  | Horton, CBI | [5 empty] | Ovefilling of the Tank 52 operated by Murphy Oil. All free oil and most of the contaminated soil transported to a reclamation site. | 1
04-88 | 11/02/88 | J1 | LVP |  |  | Sarnia Terminal Tank #214 | ONT |  | SPI | MS | DAP | Spilled oil covered approx. 30m X 15m near the tank | -5 | 96.5 | 1.6 |  |  |  |  | OTH | OD=70MM | PIT |  |  |  | Lightnin Model 300 Series |  |  |  |  | 120 | Mixer seal failure due to mixer shaft breaking resulting in excessive movement in seal area. Tank mixer replaced with spare mixer unit and shaft on mixer replaced also. | 1
05-88 | 02/03/88 | J1 | LVP | NGL |  | Hardisty Terminal Line 1 | ALB |  | ESC | JF | DAP | All liquid material contained within copany property | 3 | 2599 | 0.05 |  |  |  |  | FLA | 1-12.7MM X 12.7MM Screwed Reducer | PIT | [9 empty] | Line 1 remained isolated untilarrival of synthetic crude batch. Station piping flushed and damaged fitting removed and plug installed. | 1
06-88 | 30/03/88 | J1 | LVP | MC |  | St. Eustache Line 9 MP 2223.5 | QUE |  | SPI | MS | EVD | Oil soaked immediate area and banks of nearby drainage ditch for approx. 1.5 miles. | 10 | 2586 | 4 |  |  |  |  | PIP | OD=762MM WT=6.35MM | TRA |  |  |  | 30" Pipe |  |  |  |  | 24 | Members of Cornwall PLM Crew were dispatched. The pipeline was isolated. Depressurized and drained. A boom was deployed in the drainage creek and River Du Chene. A repair sleeve has been installed temporarily. | 1
10-88 | 28/04/88 | J1 | LVP |  |  | Gretna Station | SAS |  | SPI | MS | DAP | An accumulation of water and product occurred near the receiving line |  | 896.4 | 34 |  |  |  |  | MAN | 1/2" | PUS | [9 empty] | Internal freezing of 1/2" diameter thermal relief piping on a 6" Gate Valve, this this thermal relief piping was replaced. | 1
15-88 | 28/05/88 | J1 | LVP |  |  | Milden Station Line 2 | SAS |  | SPI | CW | DAP | All crude oil was contained within the company property |  |  | 1379 | 1.5 | 10 |  |  | PIP | Morrison Pig Sleeve | PUS | [8 empty] | 10 | Two pinhole leaks on a welding bar connecting the two half sleeves, the Morrison Sleeve was removed and replaced with pretested pipe. | 1
16-88 | 09/06/88 | J1 | LVP |  |  | Line 6 at the Petrosar Takeoff, 0.5km east of Hwy La Salle Road, Sarnia | ONT |  | OTH | HF | EVD | The oil sprayed primarily within company property | 12 | 1337 | 0.95 |  |  |  |  | PIP |  | TRA | [8 empty] | 1 | The 19MM diameter Terhmal Relief Line off the bonnet of Valve #6 ruptured. The failed line was a flexible hose, which was replaced. | 1
17--88 | 14/06/88 | J1 | LVP | NGL |  | Hardisty Station Line 1 | ALB |  | SPI | HF | NIL | NGL leak at station |  | 6205 | 5 | 24 |  |  |  | PUE | Gasket | PUS | [8 empty] | 24 | A gasket failure occurred on 3/4" bearing cooling line on Unit #1.3 and it was replaced. | 1
22-88 | 25/08/88 | J1 | LVP | SC |  | Line 1, NW 1/4-34-47-18-W4 near MP 47 | ALB |  | SPI | LW | DAP | An area of approx. 50ft in diameter showed no crop growth | 25 |  | 0.3 | 6.5 |  |  |  | PIP | OD=508MM WT=7.92MM | TRA | [8 empty] | 6.5 | A crack 2" long was near the middle of longitudinal pipe seam weld, a temporary Plidco Repair Sleeve was installed. | 1
23-88 | 27/08/88 | J1 | LVP |  |  | Milden Pump Station Line 3 MP 294.5, SE 1/4-6-29-10-W3 | SAS |  | SPI | MS | DAP | Oil contained on station yard surrounding approx. 100ft. |  |  | 16 | 1.15 |  |  |  | VAL | 4.5" Bearing Seal | PUS |  |  |  | John Crane Type BB |  |  |  |  | 0.5 | The failure from the outboard 4.5"bearing seal resulted in the spill | 1
25-88 | 30/08/88 | J1 | LVP |  |  | Sarnia Terminal Line 6 at the Dome Take-Off | ONT |  | SPI | MS | DAP | Affected area 24M X 15M was contained in the immediate area |  | 496.4 | 7 |  |  |  |  | PIP | 12.7MM OD Flexible Hose | PIT | [9 empty] | 2.7MM diameter ruptured flex hose leading from Line 6 pressure transmitter caused the spill | 1
29-88 | 15/09/88 | J1 | LVP | HC |  | Petrosar Take-Off Line 6 | ONT |  | SPI | MS | NIL | NIL | [7 empty] | PIP |  | TRA | [9 empty] | 19MM diameter hose separated at the crimped fitting by the manufacture. The flexible hose was replaced. | 1
31-88 | 07/10/88 | J1 | LVP |  |  | Kerrobert Pump Station | SAS |  | D/I | MS | DMW | General worksite clean-up | [9 empty] | PUS | [9 empty] | In attempting to move 34" diameter pipe from the wooden skids upon which the pipe was resting, the pipe rolled over one of the employees who was thereby fatally injured. | 1
01-89 | 19/01/89 | J1 | LVP | HC |  | Kingman Pump Station Line 3 Unit 4.3 SE 5-49-20 W4 | ALB |  | SPI | HF | DAP | Contained on company property in a 15m diameter area | -3 | 172.4 | 16 |  |  |  |  | PIP |  | PUS | [8 empty] | 19 | Kingman Station was put on a by-pass. As a result minor throughput loss occurred. Repair completed of the failed 36" Flexitallic Gasket. | 1
04-89 | 02/02/89 | J1 | NGL |  |  | Shell Delivery Facility Line 5 | ONT |  | OTH | MS | NIL | Slight oil residue around the valve | -8 | 414 | [5 empty] | VAL | 16" ANSI600 | TRA |  |  |  | Kerotest Gate Valve |  |  |  |  | 5 | The leak was repaired by tightening the valve stem packing which had leaked a monor amount of NGL | 1
07-89 | 15/02/89 | J1 | LVP |  |  | Bronte Junction Toronto Line 7 | ONT |  | SPI | EM | DAP | Spilled oil contained on company property | -3 | 620 | 8.8 |  |  |  |  | ELB |  | PIP | [8 empty] | 5.5 | A 19MM diameter instrument line from a Line 7 pressure transmittor was damaged at an elbow to pipe connection. It appears damage was caused by frost heave. | 1
10-89 | 07/03/89 | J1 | LVP |  |  | Sarnia Terminal Line 8 | ONT |  | OTH | HF | DAP | All spilled oil contained within the terminal facility approx. 12M X 3M | -8 | 410 | 0.73 |  |  |  |  | VAL |  | PIT | [9 empty] | Incident caused by the bonnet gasket of the Unit #8.1 Pump header check valve, basket bolts retightened and the bonnet gasket replaced. | 1
19-89 | 30/04/89 | J1 | LVP |  |  | Westover Station No. 5 Booster at Line 10 | ONT |  | FIR | HF | FIR | Gravel and soil around the booster was not contaminated | 14 | 344.8 | 0.08 |  |  |  |  | PUE |  | PUS | [9 empty] | Booster Pump motor shaft failed. Berms were constructed in a 15M radius to contain the spill | 1
20-89 | 10/05/89 | J1 | LVP |  |  | Between Hwy. 16 and Cardinal Pump Station, 1.5 miles east of the highway | ONT |  | D/I | OE | ICE | NIL | [19 empty] | A helicopter pilot on a routine patrol struck hydro line and was killed | 1
21-89 | 12/05/89 | J1 | LVP |  |  | Edmonton Terminal Line 3 Manifold Area | ALB |  | SPI | HF | DAP | Contained on the property | 15 | 1034 | 50 |  |  |  |  | MAN |  | OUT | [9 empty] | A terminated end of manifold piping was pressurized resulting in the failure of an expansion coupling. The leak occurred during a phase of scheduled manifold piping maintenance activities. | 1
32-89 | 09/08/89 | J1 | LVP |  |  | Cromer Terminal | MAN |  | SPI | HF | DAP | Meter Building and a small amount of surrounding area |  |  | 5 |  |  |  |  | VAL |  | PIT | [8 empty] | 1.5 | Valve failed to open and the increasing pressure caused the dresser coupling seals to fail. Valve was replaced and the seals changed. | 1
34-89 | 11/08/89 | J1 | LVP |  |  | Cromer Terminal Pump Station | MAN |  | SPI | HF | DAP | Contained on the property of the Meter Building |  |  | 18 |  |  |  |  | VAL |  | PIT | [9 empty] | Valve failed to open and the increasing pressure coupling seals to fail. Efforts are underway to remove all dressor coupling from service. Valve actuator was changed following the incident. | 1
36-89 | 01/09/89 | J1 | LVP |  |  | 34" Mainline Pipe at MP 549.5 | SAS |  | SPI | LW | DAP | Spilled oil contained within two non-arable topographic depressions. North and South pipe crossing was also affected | 10 | 3243 | 2300 |  |  |  |  | PIP |  | TRA | [8 empty] | 48 | Approx. 47ft of the mainline pipe removed and replaced with pre-tested security pipe. Longitudinal weld failure. | 1
37-89 | 01/09/89 | J1 | LVP |  |  | Cromer Terminal | MAN |  | D/I | WA | DAP | Affected area contained on station property |  |  | 0.2 |  |  |  |  | OTH |  | PIT | [9 empty] | The truck was owned by a third party and used to clean up incident 36-89 when it overturned and injured the employee. | 1
41-89 | 17/10/89 | J1 | PCB |  |  | Metiskow Pump Station | ALB |  | SPI | MS | DAP | PCB liquid covered an area of 3ft X 3ft on the switchgear cubicle roof | 15 |  | 1 |  |  |  |  | OTH |  | PUS | [9 empty] | Small PCB leak. | 1
43-89 | 14/10/89 | J1 | LVP |  |  | Kerrobert Pump Station LN=3 | ALB |  | SPI | HF | DAP | Spill covered over an area of 50ft X 100ft | 3 | 3861 | 94 |  |  |  |  | SCT |  | PUS | [9 empty] | The O-Ring seal located between the Line 3 permanent scraper trap and the trap extension filed was the cause of the incident. The seal was replaced and the contamininated area will be cleaned up. | 1
45-89 | 16/11/89 | J1 | LVP |  |  | MP 95.7 Line 3 | ALB |  | SPI | OE | DAP | Oil spray covered an area 75X650ft southeast and oil soaked soil 50X150ft | -2 | 2068 | 15.9 |  |  |  |  | VAL | 3/4" Block Nipple | PIP | [8 empty] | 5 | While finishing the final levelling of ground following a cathodic protection work, the backhoe bucket struck and fractured a 3/4" nipple on a 34" Line 3 valve. | 1
46-89 | 30/11/89 | J1 | LVP |  |  | Milden Station | SAS |  | OTH | MS | NIL |  | 0 | [6 empty] | OTH |  | OYS | [8 empty] | 72 | Smoke/smoldering condition from Line 3 switchgear cubicle. Various electrical components will be replaced. | 1
01-90 | 23/01/90 | J1 | LVP | MC |  | Bryanston Pump Station | ONT |  | SPI | MS | DAP | Crude petroleum escaped in the area adjacent to the two pumping units | 2 |  | 0.1 | [6 empty] | PUS | [9 empty] | A grinding spark ignited vapours within a sump tank and drain line. The drain line had been advertently left open. | 1
04-90 | 14/03/90 | J1 | NGL |  |  | Kerrobert Pump Station LN=1 | SAS |  | ESC | HF | NIL |  | 5 | 7653 | [5 empty] | VAL |  | PUS | [8 empty] | 10 | The O-Ring securing the hinge pin disc had failed. | 1
06-90 | 31/03/90 | J1 | LVP |  |  | Line 3 MP 284.56 upstream of the Milden Pump Station | SAS |  | SPI | HF | DAP | Area contaminated by oil was approx. 30ft X 20ft | 7 | 1103 | 16 |  |  |  |  | VAL |  | TRA | [8 empty] | 7 | A leaking flange on the upstream side of the Line 3, 48" isolating valve. Clean-up is expected to be completed within 2 weeks. | 1
11-90 | 25/05/90 | J1 | LVP |  |  | Lakehead Line 5 at Michigan | USA | [14 empty] | OTH | [9 empty] | Leak detected on Lakehead's Line 5 - The shutdown of the line will have a marginal effect on IPL's throughputs. | 1
13-90 | 07/05/90 | J1 | LVP |  |  | Edmonton Terminal Tank #9 | ALB |  | SPI | HF | DAP | Oil contained in the tank lot | 0 |  | 72 |  |  |  |  | OTH |  | PIT | [9 empty] | Leak due to a tank mixer seal failure. "Sarnia Special" crude oil was stored in the tank at the time of the incident. Seal repair and site restoration commenced promptly. | 1
19-90 | 18/06/90 | J1 | LVP |  |  | Regina Terminal Tank #77 | SAS |  | SPI | UN |  |  | 20 |  | 47 | [6 empty] | PIT | [9 empty] | Tank was removed from service and pumped to the bottom. A complete investigation is underway. | 1
21-90 | 09/07/90 | J1 | LVP |  |  | Cromer Terminal Meter #6 | MAN |  | SPI | HF | DAP |  | 25 |  | 28 |  |  |  |  | OTH |  | PIT | [8 empty] | 3 | Meter #6 was in crude service - Delivery into Tank 98 started before the tank valve was opened, resulting in high pressure and causing the O-Ring to rupture and the meter screen pot head to distort. Clean-up initiated. | 1
31-90 | 12/09/90 | J1 | LVP |  |  | Kingman Pump Station | ALB |  | OTH | HF | OTH | [8 empty] | OTH |  | PUS | [9 empty] | A malfunction of the Unit #4.3 breaker. A new breaker and some wiring will be required prior to returning Unit $4.3 to service. | 1
37-90 | 17/10/90 | J1 | LVP |  |  | MP 722.8 Line 3 | MAN |  | SPI | CE | DAP | Oil was contained in each road side excavation | 5 | 2068 | 0.48 |  |  |  |  | PIP |  | TRA | [8 empty] | 48 | The leak source was within the casing buried under Manitoba Hwy. 244. Leak was attributed to fatigue growth of a crack which developed in a corrosion pit. 167 feet NP 534 pre-tested pipe was butt-welded. | 1
40-90 | 28/11/90 | J1 | LVP |  |  | Craik Station 3 | SAS |  | SPI | HF | DAP | Oil on station property | -5 | 2999 | 48 |  |  |  |  | PUE |  | PUS |  |  |  |  | 72 |  |  |  |  | A faulty 3/4" pump nipple on the top of Craik Unit 3.5. A 3/4" pipe plug was installed in the pump vent thread-o-let on top of Unit 3.5 and the released oil in the Station 3 Pump Room was cleaned up. | 1
43-90 | 29/11/90 | J1 | LVP | HC |  | Hardisty Station | ALB |  | SPI | 3P | DAP | Contaminated soil and snow | 2 | 3482 | 0.8 |  |  |  |  | FLA |  | PUS | [8 empty] | 2.5 | A contractor's Bobcat struck a small flange attached to a 1" fitting welded to the pipeline. | 1
45-90 | 20/12/90 | J1 | LVP |  |  | Cromer Station | MAN |  | SPI | HF | DAP | Oil contained on IPL property | -32 |  | 200 |  |  |  |  | STT |  | PIT | [8 empty] | 0.5 | Approx. 10.5m of tank seal damaged. Oil will be pumped back into Tank 107 and the tank lot reclaimed. | 1
47-90 | 27/12/90 | J1 | LVP |  |  | Cactus Lake | ALB |  | EXP | HF |  | Detergent cleanup of carbon deposits within the cubicle only | -40 | 3785 | [5 empty] | OTH |  | PUS | [9 empty] | Explosion at Line 3 switchgear cubicle. Due to extremely cold temperatures outside, remedial structural repairs wil extend into 1991. | 1
03-91 | 26/01/91 | J1 | LVP |  | 3036.8 | LN=9 (Sarnia/Montreal) Ninth Line Road Junction Take-Off | ONT |  | SPI | HF | DAP | Spill covered approx. 12 X 20 ft within compound | -1 | 1586 | 15BBL |  |  |  |  | PIP |  | TRA | [9 empty] | Leak resulted from a cracked 1" 90 degrees fitting on the densitometer. Frost had heaved the vertical culvert around the densitometer take-off valve putting undue pressure on the 1" piping leading to the fitting. | 1
84-91 | 09/04/91 | J1 | LVP |  |  | Edmonton Terminal, North Tank Farm Manifold Area | ALB |  | SPI | MS | EVD | 1.11m3 of mixed blend crude from an idle line was released. 7 BBLS released, 5-6 BBLS recovered. | 6 | 103 | 1.11 |  |  | N/A | N/A | PIP | Idle 48" flow line | PIT STF | [8 empty] | N/A | 1.11m3 of mixed blend crude leaked from a corroded idle 48" pipe. A 48" leaking defect sleeve was to be installed. | 1
39-91 | 22/02/91 | J1 | N/A | N/A |  | Regina Terminal | SAS |  | D/I | MS | ICE | Employee struck in abdominal area |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | PIT | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | An IPL employee was attempting to lay a 20" gate valve on its side when the valve slipped and struck the employee in the abdominal area. | 1
97-91 | 15/07/91 | J1 | HVP | NGL |  | Edmonton Terminal Unit 1.1 | ALB |  | ESC | UN |  | Small amount of condensate spray on pump base, NGL vapours dissipated to the atmossphere | 22 | 4130 | 0.08 | 0.25 | N/A | N/A | N/A | FIT | Swagelok Fitting (3/8") | PUS STF | N/A | N/A | N/A | [5 empty] | 5.75 | 20:05-Line 1 Station locked out due to gas alarm. Discovered Unit 1.1 Swagelok Fitting was leaking, flaring of NGL commenced through flare burner, unable to restart unit due to electrical fault, Line 1 PLC fuse had to be replaced, 1:43-Line restarted. | 1
99-91 | 11/07/91 | J1 | LVP | MC |  | Edmonton Terminal Tank Farm, Tank #24 | ALB | N/A | SPI | OW | EVD | 889.5m3 of lube blend crude oil leaked from Tank #24, 888m3 of oil was recovered, pipeline operations EX Edmonton Terminal were not affected | 16 | 131 | 889.5 |  |  |  |  | STT |  | PIT STF | [9 empty] | Imperfection at toe of fillet weld between tank shell and floor plate resulted in 76mm X 152mm crack, 23:25-affected incoming stream flow rates reduced by 25%, 1:55 July 12-incoming streams shutdown, 6:00 July 12-incoming streams commenced at reduced rates. | 1
100-91 | 18/07/91 | J1 | LVP |  |  | Milden Pump Station LN=3 | SAS |  | SPI REM | MS | EVD | 8m3 of crude oil batch LLK-797 was spilled. 6.4m3 was recovered. Oil spray covered an area 18m X 18m on property and 18 X 30m off property | 21 | 1240 | 8 |  |  |  |  | PIP | Sump discharge piping, OD=0.5M | PUS | [8 empty] | 0.5 | During excavation around the Line 3 sump pump to remove abandoned Line 3 sump, the Line 3 sump pump concrete base moved (not supported) resulting in a break of the 50mm discharge sump line. Fractured at a union connection due to excessive stress. | 1
107-91 | 05/09/91 | J1 | LVP | SC NGL |  | Glenboro Station LN=1, Unit 1.1 Discharge Valve | MAN |  | ESC SPI | MS |  | About .05m3 of synthetic crude and an undetermined amount of NGL was released froma valve of stem seal. | 15 | 1205 |  |  | N/A | N/A | N/A | PUE | Leak caused by a worn primary 'O' Ring | PUS | N/A | N/A | N/A | N/A | [5 empty] | Leakage resulted from a worn primary 'O' Ring on Unit 1.1 discharge valve. A synthetic crude batch was within about 150m3 of clearing the station followed by a batch of NGL. At the time of the incident the material was an interface of these two. | 1
111-91 | 23/09/91 | J1 | LVP |  |  | Regina Terminal Line 2 Valve | SAS |  | SPI | RD | EVD | 2.8m3 of crude oil batch LB-124, density = 828kg/m3, was spilled on company property, Line 2 shut down for approx. 40 minutes | 10 | 689.5 | 2.8 |  |  |  |  | OTH | 1/2" vent connection mounted on the body of Valve G-3.1 | PIT | [8 empty] | 0.67 | While excavating between two culverts adjacent to Valve G-3.1 to enlarge opening in the culverts, a Gradall bucket struck a vent connection mounted on the body of the valve. Resulted in 2.8m3 of crude oil batch LB124, density - 828kg/m3 being spilled. | 1
112-91 | 25/09/91 | J1 | LVP | DF |  | Loreburn Station LN=1 | SAS |  | REM | MS | OTH | Line 1 was shut down for 5.27hrs to remove lodged pig train. Station header was temporarily replaced with a section of straight pipe | 9 | 4227 | N/A | N/A | N/A | N/A | N/A | VAL PIP |  | PUS | N/A | N/A | [6 empty] | 5.27 | Bypass Valve 1.2 closed prematurely. Diverted Line 1 flow into station piping before pig train from MP 313 work site had passed Loreburn Station. Remaining pig train became lodged in the header piping, station header replaced with section of pipe. | 1
165-91 | 07/11/91 | J1 | LVP |  |  | Hardisty Terminal on Main Line | ALB |  | SPI | HF | EVD | Hose attached to 48" scraper trap drain valve failed, approx 12.7m3 of batch SWX-193 (sweet crude) was recovered. | -2 | 2413 | 12.7 |  | N/A | N/A | N/A | SCT | Scraper trap drain hose ruptured | PIT | N/A | N/A | N/A | N/A | [5 empty] | Attempt to drain down scraper trap before isolation valve had been fully closed, line pressure transmitted through trap and into drain hose, hose ruptured, attempt to limit flow by closing trap drain valve failed because of debris lodged in valve. | 1
166-91 | 07/11/91 | J1 | LVP | SC |  | Edmonton Terminal | ALB |  | SPI | HF | EVD | 1.91m3 synthetic crude (OSA) spilled. 1.75m3 recovered. Oil sprayed covering an area 25ft X 250ft on terminal property | 0 | 1724 | 1.91 |  | N/A | N/A | N/A | MAN | Threaded plug fitting on manifold failed | PIT | N/A | N/A | N/A | N/A |  |  |  |  | N/A | While pressuring theB ooster 20,21,22 Manifold following pipe modification work, a threaded plug fitting on the manifold failed. Reason for failure is unknown, 1.91m3 of synthetic crude was spilled. | 1
181-91 | 16/11/91 | J1 | LVP |  |  | Edmonton Terminal Tank #27 Discharge | ALB |  | SPI | HF | EVD | 3.18m3 sweet crude oil spilled, 3.02m3 recovered, area approx. 400ft X 20ft, on site, covered with a thin layer of oil, mainly on ice | -5 |  | 3.18 | 0.25 | N/A | N/A | N/A | VAL | Tank #27 water draw valve was seized partially open | PIT STF | N/A | N/A | N/A | N/A |  | N/A | N/A |  |  | An IPL employee started draining water off the bottom of Tank #27 through the water drain valve. When valve plug was removed 3.18m3 of sweet crude oil was released because the valve was seized in a partially open position due to an unknown substance. | 1
189-91 | 22/11/91 | J1 | N/A | N/A | N/A | Regina Terminal | SAS | N/A | OTH | MS | DAP | Stairs, fire protection foam line, cable tray and piping elbow on Tank #74 were damaged by a contractor's crane | -9 | N/A | N/A | N/A | N/A | N/A | N/A | STT | Tank #74 | PIT STF | N/A | N/A | N/A | N/A |  | N/A | N/A |  |  | While backing crane up Tank #74 access ramp the engine stalled rendering steering and brakes inoperative, crane rolled back down ramp and struck a fire extinguisher and 20lb propane tank, the crane boom also struck the tank stairs, catwalk, etc. | 1
01-92 | 02/01/92 | J1 | LVP |  |  | Cromer Terminal Station, in station piping in Line 2 | MAN |  | SPI | CI | OTH | 120m3 of oil recovered, all oil contained on property | -3 | 7722 | 125 |  | 4 |  |  | PIP | 16" pipe | PIT | [9 empty] | At 10:11 MST 125m3 of crude oil released from Line 2 piping at Cromer Terminal Station. All lines shut down. Line 1,2,3 restarted at 11:43, 12:17, 13:43 MST respectively on 2 Jan 92. Internal corrosion was found to be the cause. | 1
03-92 | 08/01/92 | J1 | LVP |  |  | Cromer Terminal in Metering Manifold Area | MAN |  | SPI | HF | DAP | Damage to to meter #7 basket strainer bonnet | -10 | 793 | 12 |  | 2 |  |  | MAN | Basket Strainer Bonnet | PIT | [9 empty] | 12m3 crude oil released when a tank valve malfunctioned when personnel were switching tanks for an incoming feeder line. All oil released contained on property. Uncommanded closure of Valve 298 for Tank #28 restricted flow in Meter Manifold. | 1
18-92 | 20/01/92 | J1 | N/A |  |  | Edmonton Terminal | ALB |  | D/I INT | OE | IWE | Mr. L. Melan was taken to the University Hospital in Edmonton. Inquiries about his health should be directed to Mona Hari (403) 498-7023 | 4 |  |  |  | 5 |  |  |  |  | PIT | [8 empty] | 1.65 | Employee of Translanta Utilities was injured while performing maintenance work on an energized electrical substation. He suffered an electrical shock and fall. Line 2 was shit down from 14:25 MST to 1605 MST. Lines 1 and 3 were unaffected by incident. | 1
32-92 | 05/02/92 | J1 | LVP | LC |  | Edmonton Terminal Floating Roof of Tank #8 leaking | ALB |  | SPI | MS | OTH | Approx. 3.2m3 of oil released. Approx. 2.7m3 of oil recovered. Approx. 0.5m3 of oil remains on the roof. | 4 |  | 3.2 |  | 2 |  |  | STT |  | PIT | [9 empty] | Oil was discovered leaking on floating roof of Tank #8 and it was determined tank's internal roof draines were responsible. The plugs were removed, threads cleaned, and reinserted. This stopped the leakage of oil. | 1
89-92 | 02/04/92 | J1 | N/A |  |  | Souris Pump Station | MAN |  | OTH | MS | FIR DAP | Station 4 at Souris East was put on by-pass pumping rate on Line 3 reduced fromm 4300m3/hr to 3600m3/hr. No injuries as a result of fire | 4 |  |  |  | 2 |  |  | PUE |  | PUS | [9 empty] | A fire occurred in the electrical breaker for Pump Unit #4.3, while trying to start the unit. The fire was put out by fire extinguisher. The station lost all power briefly. Two remaining pumps brought back on line after inspection. Damage to Unit #4.3. | 1
102-92 | 02/06/92 | J1 | LVP | NGL MC |  | Kerrobert Terminal | SAS |  | SPI | HF | OTH | 3.97m3 of OSA crude (buffer) oil and 0.79m3 of NGL wre spilled and 1.74m3 of OSA recovered. Bonnet Gasket on check valve was cause | 8 | 4137 | 4.76 |  | 2 |  |  | OTH |  | PIT | [9 empty] | A leak was noticed in the area of Unit 1.3 Valve at 04:00 hours MST, and Line 1 shut down at 4:09 MST, restarted at 5:37 hours MST with the station on by-pass until repairs carried out. Line 1 returned to normal operations on 2 JUN 92 at 15:50 MST. | 1
110-92 | 08/06/92 | J1 | LVP | LC |  | Hardisty at MP 107 | ALB |  | SPI | CD | OTH | Estimated 8m3 of crude oil contained to an area of 3m X 17m and 6m3 recovered. A leaking defect sleeve installed over damaged area. | 10 |  | 8 |  | 3 |  |  | PIP | 24" Pipeline | TRA | [9 empty] | Crude leak reported, Lines 1,2,3 were shut down. Area was secured. Leak was from a 1" long crack in area of localized dents and gouges in section of line that was idle but filled. Thermal expansion valve was closed and warm weather are suspected causes. | 1
172-92 | 25/0792 | J1 | LVP |  |  | Lakehead USA leak affecting IPL's Edmonton to Superior Lines 1 and 2. | ONT |  | N/A | MS | OTH | Minor - Refineries in Sarnia might feel effects from the line being shut down. Efforts under way to locate leak. | [9 empty] | OTH | [9 empty] | Line 1 shut down @ 10:00 HRS on 25 JUL 92, Line 2 shut down @07:00 HRS on 26 JUL 92. This is not considered an incident because no leak was discovered and there was no disruption of service. | 1
197-92 | 04/08/92 | J1 | LVP |  |  | Regina Terminal | SAS |  | SPI | OE | OTH | 1.8m3 of sweet crude leaked through 3 open manway covers. | 27 |  | 1.8 |  | 5 |  |  | STT |  | PIT | [9 empty] | The manway covers had been removed after the tank had been drained for the purposes of cleaning the tank. Ventilation fans were set up to ventilate the tank. Warm temp caused oil on the side to pool on the bottom and eventually spill out the manways. | 1
224-92 | 10/08/92 | J1 | N/A |  |  | Cromer Terminal | MAN |  | D/I | OE | IWE | Minor - Possible serious knee damage | 18 |  |  |  | 5 |  |  |  |  | PIT | [9 empty] | A contractor employee (Brent Horn) was pressure cleaning an abandoned sump tank and when exiting from the hatch his hand slipped causing the pressure steam to be directed to his right knee and thus puncturing it. | 1
367-92 | 19/10/92 | J1 | LVP | OTH |  | Regina Terminal | SAS |  | SPI | OE | EVD | 6.8m3 of mix of 75% water and 25% methanol was spilled onto the ground. The mixture was fully contained in a bermed perimeter. | 7 |  | 5.08 |  | 5 |  |  |  |  | PIT | [9 empty] | Contractor discharged the mixture leak detection flow meter components. The mixture will be collected by vacuum truck and Gradall. The contaminated soil will be excavated and stored to minimize environmental impact. | 1
378-92 | 10/11/92 | J1 | HVP | NGL |  | Herschel Station Yard | SAS |  | ESC | HF | OTH | A small amount of gas was released by the stem seal area of a control valve on Line 1 when the valve was turned in the open position. | -2 | 2758 |  |  | 2 |  |  | VAL |  | PUS | [9 empty] | The valve was locked in the fully open position to minimize the loss. Repairs to be completed on the control valve at the next change in product. | 1
382-92 | 18/11/92 | J1 | HVP | NGL |  | Edmonton Terminal | ALB |  | ESC | OP | OTH | Approx. 0.07m3 of NGL was released from sump tank vent piping. | 0 | 2069 | 0.07 |  | 5 |  |  | VAL | 20" Prover Pipe Relief Valve set at 275psi (1896kPa) | PIT | [9 empty] | During product swing from OSA crude to NGL, suction pressure was lost which shut down Line 1 units. Pressure rose to 300pis in incoming feeder piping and exceeded pressure setting and released. | 1
383-92 | 19/11/92 | J1 | HVP | NGL |  | Edmonton Terminal | ALB |  | ESC | OP | OTH | Approx. 0.05m3 of NGL was released from Line 1 sump tanl vent piping. | -3 | 2241 | 0.05 |  |  |  |  | VAL | 20" Prover Pipe Relief Valve set at 275psi (1896kPa) | PIT | [9 empty] | Automatic shutdown of Line 1 due to high holding pressure caused pressure in the incoming feeder piping to increase. The pressure exceeded the relief valve setting and NGL was released into the Line 1 sump tank. | 1
384-92 | 28/11/92 | J1 | LVP | GS |  | Milden Take-Off Delivery Point | SAS |  | SPI | OP | OTH | Gasoline spray noticed in manifold area (5' x 10'). | -5 | 4930 | 0.025 |  | 5 |  |  | MAN VAL |  | OTH | [9 empty] | During a gasoline delivery, an overpressure in the manifold caused the pressure relief valve to open and relieve into the sump tank. Leak was from a 3/4" partially opened test valve of the thermal relief system. | 1
01-93 | 09/01/93 | J1 | LVP | CR |  | Milden Station LN=3 | SAS |  | SPI | MS | OTH | Approx. 4m3 oil released in an area of 20' X 20' before leaking into an open excavation on site. Approx. 3.2m3 oil recovered. | -35 | 3447 | 4 |  |  |  |  | FLA | Blind Flange, buried | PUS | [8 empty] | 56 | Leak reported by a resident, confirmed at 13:06 MST by company, shutdown line at 13:07 MST. Upon excavation the leak was from a blind flange connection that was loose. Line drained, gasket material replaced, flange tightened, leak stopped, return to service. | 1
07-93 | 25/01/93 | J1 | LVP | CR |  | Hardisty Station near Meter Bank "C" | ALB |  | SPI | MS | N/A | Approx. 2.07m3 crude released. 1.91m3 recovered | -15 | 1207 | 2.07 |  |  |  |  | FLA |  | PUS | [9 empty] | The leak was due to loose studs on a flanged connection. The studs were tightened and torqued to the required values for the type and size of the fitting. This stopped the leak. | 1
12-93 | 01/02/93 | J1 | LVP | NGL CON |  | Kingman Station | ALB |  | SPI | HF | OTH | Approx. 0.005m3 total liquid condensate and NGL were released. 0.0005m3 of condensate cleaned up and 0.0045 NGL dissipated into atmossphere. | 2 | 1220 | 0.005 |  |  |  |  | VAL | Unit 1.1 Valve Stem Seal | PUS | [9 empty] | The valve stem seal began to leak due to normal wear. The leak was repaired by replacing the valve shaft and shaft seal. | 1
14-93 | 01/02/93 | J1 | LVP | CR |  | Mixer adjacent to Tank #16 at Edmonton Terminal | ALB |  | SPI | HF | OTH | 2m3 of synthetic crude oil released. 1.8m3 recovered and remianing picked up in form of contaminated snow/soil. | 5 | 11 | 2 |  |  |  |  | STT | Secondary Seal on Tank #16 | PIT | [9 empty] | When secondary seals engaged to facilitate repair of primary seals, the seals began to leak when static head in tank became too much. Temporary seal put in until both primary and secondary seals were repaired. | 1
61-93 | 18/05/93 | J1 | LVP |  |  | Souris Pump Station | MAN |  | SPI | MS | OTH | Approx. 5m3 of crude leaked, 3m3 recovered, oil loss within station compound. |  | 3033 | 5 |  |  |  |  | FLA |  | PUS | [9 empty] | Crude oil discovered adjacent to the Station 3 Pumphouse. A flange on the Unit 4.3 Wafer Check Valve was found to be leaking. The leak was repaired by tightening the studs. | 1
83-93 | 21/06/93 | J1 | LVP |  |  | Sarnia Terminal | ONT |  | SPI | HF | OTH | 11.725m3 released, 11.7m3 recovered, remainder mixed with stone and soil and put in buckets for removal. No shutdown of operations. | 17 |  | 11.725 |  |  |  |  | STT | Tank #212, Floating Roof | PIT | [9 empty] | After heavy rain, roof drains on all tanks were drained to release trapped water on the tank roofs. Initial water released was free of oil, but the weight of water on Tank #212 forced oil out through the leg support pin holes. Oil flowed into tank lots. | 1
89-93 | 21/06/93 | J1 | LVP |  |  | Sarnia Terminal | ONT |  | SPI | HF | OTH | 4.525m3 released, 4.5m3 recovered, remainder mixed with stone and soil, put in bucket for disposal. No shutdown of operations. | 17 |  | 4.525 |  |  |  |  | STT | Tank #216 | PIT | [9 empty] | After heavy rain, roof drains of tank were drained to release trapped water. Weight of water on the roof of Tank #216 forced oil out through the leg support pin holes. | 1
93-93 | 05/07/93 | J1 | LVP |  |  | Cromer Terminal | MAN |  | SPI | ? | OTH | 14.3m3 of oil recovered from cribbing surrounding the valve. | [7 empty] | VAL |  | PIT | [9 empty] | Oil discovered near Valve S3.1. Cause???? | 1
154-93 | 05/08/93 | J1 | LVP |  |  | MP 2258.1 LN=1 near Montreal | QUE |  | SPI | CE | EVD | External corrosion failure on 3/4" densitometer pipe. 95% metal loss under an angle iron bracket and U-bolts. |  |  | 32.24 | [6 empty] | TRA | [9 empty] | Lube crude oil was discovered in two sewer lines that cross Line 9. | 1
307-93 | 22/11/93 | J1 | LVP |  |  | MP 653.3, East of Souris | MAN |  | SPI | OW | EVD | FatiiguehHook crack in the seam weld of the pipe. | [9 empty] | PIP | [9 empty] | One gallon of crude detected on the ground surface beneath a casing vent of IPL's Line 2, Hwy 2 crossing east of Souris. | 1
309-93 | 29/11/93 | J1 | LVP | CON NGL |  | Herschel Pump Station | SAS |  | SPI | HF | [9 empty] | FLA |  | PUS | [9 empty] | Employee discovered an above ground flange was weeping NGL and a small amount of condensate was leaking. | 1
310-93 | 01/12/93 | J1 | LVP | NGL |  | Edmonton Terminal | ALB |  | SPI |  |  | Company emergency procedures were put into effect. | [9 empty] | PIT | [9 empty] | Gas detector sounded when NGL was releived into the Products Sump Tank and then to atmosphere. See detailed report!!! | 1
02-94 | 19/01/94 | J1 | LVP | LC |  | Keyser Pump Station | ONT |  | SPI | HF | DAP EVD | Oil spill due to failure of inboard pump seal |  | 560 | 5 | [6 empty] | PUS | [9 empty] | Leak detection unit did not shut down unit due to blocked vent line. | 1
09-94 | 09/05/94 | J1 | LVP | CON |  | Sarnia Terminal | ONT |  | SPI | OE | OTH | A valve was not reopened after maintenance, so when the line was repressurized the condensate was released into the sump tank which overflowed. |  |  | 5.7 | [6 empty] | PIT | [9 empty] | The condensate was pumped with a vacuum truck. | 1
15-94 | 01/03/94 | J1 |  | NGL |  | Hardisty Pump Station | ALB |  | ESC | MS | OTH | A leak (due to wear) was found on the Unit 1.3 pump seal area after the station had a gas alarm. The pump seal |  | 544 | 0.04 |  |  |  |  | PUE |  | PUS | [8 empty] | 1.5 | The leaking pump was repaired. | 1
22-94 | 19/05/94 | J1 | LVP | LC |  | Keyser Pump Station | ONT |  | SPI | MS | EVD | A leak of approx. 6m3 of crude oil caused by the failure of the inboard seal on the centrifugal pump. |  | 600 | 6 |  |  |  |  | PUE |  | PUS | [8 empty] | 24 | The spill occurred because the leak detection switch did not operate correctly due to a blocked vent line and did not shut the unit down. | 1
43-94 | 13/07/94 | J1 | LVP |  |  | Gretna Station | MAN |  | SPI | MS | EVD | An oil leak occurrred due to insufficient cover over a 2" pipe to dampen the load transmitted by a backhoe. |  |  | 12 |  |  |  |  | PIP | [11 empty] | The line was reinstalled at a lower depth insuring adequate cover. | 1
44-94 | 15/07/94 | J1 | LVP |  |  | MP 532, 16km upstream from Langbank | SAS |  | SPI | MS | EVD | Sweet crude spilled when the seal between a calibration spool piece & pipeline separated. Cause: heavy rain caused pipe movement. |  |  | 23 |  |  |  |  | OTH |  | TRA | [10 empty] | 1
47-94 | 31/08/94 | J1 | GAS |  | 218 |  |  |  | ESC | 3P | DAP | A gasline was ruptured by a contractor. The line had been daylighted, but heavy rain caused the line to be recovered. | [7 empty] | PIP |  | TRA | [9 empty] | The basic cause was the improper marking of the line the 2nd time. | 1
55-94 | 10/09/94 | J1 | LVP |  |  | Line 3, MP 479 | MAN |  | SPI | CE | EVD | A spill of 3.2m3 of crude oil occurred which resulted from a 1/2" crack which developed in the bottom of a corrosion pit. | [5 empty] | 0.5" |  | PIP |  | TRA | [8 empty] | 8 |  | 1
57-94 | 03/10/94 | J1 | LVP | SC |  | MP 717.5, 1 mile upstream from St. Leon Pump Station | MAN |  | SPI | OE | EVD DAP | An oil spill occurred due to an overpressure situation caused by starting up the mainline agaisnt a closed valve. |  |  | 4000 |  |  | 110" |  | PIP | OD=34" | TRA |  |  |  |  | 69 | [5 empty] | 1
67-94 | 18/12/94 | J1 | LVP |  |  | Sarnia Terminal | ONT |  | SPI | MS |  | A leak of crude oil due to a tank mixer seal. |  |  | 15 |  |  |  |  | STT |  | PIT | [10 empty] | 1
03-95 | 21/01/95 | J1 | LVP | HC |  | Sarnia Pump Station | ONT |  | SPI | CI | OTH | Crude oil was spraying from an untilized 16" nozzle on Tank #201 due to a trhough wall corrosion defect. 5.5m3 was spilled. |  | 15 | 5.5 |  |  |  |  | FIT |  | STF | [10 empty] | 1
06-95 | 17/02/95 | J1 | LVP |  |  | Souris Pump Station | MAN |  | SPI | MS | OTH | The seal packing on a stem valve leaked. 3m3 of oil was spilled. |  |  | 3 |  |  |  |  | VAL |  | PUS | [10 empty] | 1
08-95 | 20/02/95 | J1 | LVP |  |  | Hardisty Station | ALB |  | REM OTH | MS | OTH | A leaking flange resulted in the spill of 2m3 of oil and the line being shut down for 3hrs. |  |  | 2 |  |  |  |  | FLA |  | PUS | [8 empty] | 10 |  | 1
10-95 | 25/02/95 | J1 | LVP | GS |  | Edmonton Terminal | ALB |  | SPI | MS | OTH | A seal leak caused 0.24m3 of gasoline to be spilled |  |  | 0.24 |  |  |  |  | PUE |  | PIT | [10 empty] | 1
13-95 | 22/03/95 | J1 | LVP |  |  | Glenboro Pump Station | MAN |  | SPI | RD | OTH | Sweet crude leaked from a buried flange gasket. The valve had been recently installed, perhaps not properly, and was damaged by pig. |  |  | 30 |  |  |  |  | FLA |  | PUS | [10 empty] | 1
14-95 | 02/04/95 | J1 | LVP |  |  | Sarnia Pump Station | ONT |  | SPI |  |  | Crude was found inside and outside the pump building on station grounds. |  |  | 1 | [6 empty] | PUS | [10 empty] | 1
15-95 | 05/04/95 | J1 | LVP |  |  | Cromer Pump Station | MAN |  | SPI | MS | OTH | Crude leaked from the bonnet of a crude oil storage tank roof drain valve. |  |  | 3 |  |  |  |  | STT |  | PUS | [10 empty] | 1
17-95 | 25/04/95 | J1 | LVP | NGL |  | White City Pump Station | SAS |  | ESC | MS | OTH | NGL escaped to the atmosphere when the seal on a pressure control valve failed. | [7 empty] | VAL |  | PUS | [10 empty] | 1
20-95 | 24/05/95 | J1 | LVP | OTH |  | Hardisty Pump Station #20 | SAS |  | ESC | HF | OTH | Crude oil (7m3) was found to have leaked from a pig sender. O-Ring seal failure on the trap door was the cause of the accident. |  |  | 7 |  |  |  |  | SCT | [12 empty] | 1
25-95 | 16/06/95 | J1 | HVP | CON | MP 519 | Downstream from Glenavon, Sask. (Approx. 250km east of Regina) | SAS |  | ESC | CE | EVD | An estimated 20,000 BBL of condesate leaked from a 34" PL. (Operator noticed pressure drop). External longitudinl pitting corrosion below tented tape at 9:00 position. | [7 empty] | PIP | OD=34" | [11 empty] | 1
26-95 | 18/06/96 | J1 | LVP | SC |  | Kerrobert Pump Station | SAS |  | ESC | HF | OTH | A gas alarm sounded in Kerrobert control room. Crude oil was discovered on ground near Line 1 ML valves. Line shut down, repairs = gasket replacement. |  |  | 30 |  |  |  |  | VAL | [12 empty] | 1
30-95 | 22/06/95 | J1 | LVP | SC |  | Langbank Pump Station LN=1 | SAS |  | SPI | HF | OTH | Synthetic crude leaked from a loose flange connection to the Unit Header Wafer Check Valve on Unit 1.3 |  |  | 3.63 |  |  |  |  | FLA |  | PUS | [8 empty] | 72 | Contaminated soil removed and transported to Bio-Remediation Site for assessment | 1
50-95 | 23/08/95 | J1 | HVP | NGL |  | Hardisty Terminal | ALB |  | ESC | HF |  | NGL escaped into a drain line from a valve which did not seal properly, NGL vapour escaped drain ine piping through a loose seal pot flange |  | 2634 | 0.003 |  |  |  |  | FLA VAL |  | PUS | [8 empty] | 1.7 | Flange was tightened and drain line valve flushed; NGL dissipated into atmosphere | 1
52-95 | 10/09/95 | J1 | LVP |  |  | Souris Pump Station | MAN |  | FIR | MS | DAP | A fire alarm triggered at the Edmonton Control Centre. Employees sent to the Souris Station found the Line 3 switchgear cubicle on fire | [7 empty] | OTH |  | PUS | [9 empty] | Fire was extinguished with assistance of Souris Fire Department. Cause unkown at this time | 1
61-95 | 13/11/95 | J1 | LVP |  | 548.5 | Langbank Pump Station | SAS |  | ESC | LW | EVD | Following discovery of a pressure drop downstream of Langbank, a leak was confirmed on Line 3. Line shut down and isolated. | [7 empty] | PIP | 34" .5WT | TRA | [5 empty] | 675.5 |  |  |  | PL pressure estimated at 503psi following confirmation of rupture, line isolated and EP's started. | 1
69-95 | 28/11/95 | J1 | LVP |  |  | Sarnia Terminal | ONT |  | SPI | HF | OTH | A crude oil leak from a tank mixer was discovered. Leak contained to tank's bermed area |  |  | 80 |  |  |  |  | STT | Lightning Model 208 Mixer | PIT | [9 empty] | Defective material of construction (shaft material) immediate cause. Inadequate inspection basic cause. | 1
77-95 | 18/12/95 | J1 | HVP | NGL |  | Milden Station #35 | SAS |  | ESC | HF | OTH | Strobe light activated alerting employee to possible NGL leak. On investigation NGL was leaking from the stem area of Unit 1.2 discharge valve. |  |  | 0.05 |  |  |  |  | VAL |  | PUS | [9 empty] | Unit 1.2 was isolated and material failure of primary seal was found to be immediate cause. Normal wear is basic cause. | 1
78-95 | 20/12/95 | J1 | HVP | NGL |  | Cromer Terminal | MAN |  | ESC | HF | OTH | An employee noted mist off Line 1 pressure control valve. Isolated and and seal failure determined to be cause of leak. | [7 empty] | VAL |  | PUS | [9 empty] | Failure analysis done on valve seal. Ridging and hardness of seal suspected. | 1
79-95 | 20/12/95 | J1 | HVP | NGL |  | Souris West Pump Station | MAN |  | ESC | HF | OTH | Edmonton Control Centre received gas alarm and CO.FLD personnel investigated. Inboard seal failure of Unit 1.2 determined to be cause of NGL leak | [7 empty] | VAL |  | PUS | [9 empty] | Unit isolated and seal replaced. Gas detectors and automatic shutdown functioned as designed. | 1
02-96 | 08/01/96 | J1 | LVP |  |  | Milden Take-Off | SAS |  | OTH | HF | OTH | [20 empty] | The basic cause of the incident was normal wear/tear. | 1
04-96 | 09/02/96 | J1 | LVP | SC |  | Cromer Terminal | MAN |  | OTH | [23 empty] | 1
11-96 | 15/03/96 | J1 |  | LC/MC |  | Cromer Terminal | MAN |  | DIS | HF | OTH | Personnel found crude oil on the ground next to Line 2 from a leak in Valve S2.2. The valve was found to have loose packing. |  |  | 6.35 |  |  |  |  | VAL |  | PIT | [9 empty] | The basic cause of the spill was normal wear/tear on the valve | 1
15-96 | 18/04/96 | J1 | LVP | LC/MC |  | Vicinity of Line 13 Scraper Trap at Regina Terminal | SAS |  | SPI | HF | OTH | Released oil picked up with a vacuum truck and all contaminated soil will be disposed of in accordance with company environmental procedures. |  | 8648 | 3.2 |  |  |  |  | SCT |  | PIT | [8 empty] | 0.5 | The basic cause of the leak was normal wear/tear on scraper door O-Ring | 1
39-96 | 17/08/96 | J1 | HVP | NGL |  | IPL's Milden Station | SAS |  | SPI | JF | OTH | NGL leak due to densitometer pump seal failure | [7 empty] | PUE | Densitometer Pump Seal | PUS | [9 empty] | The basic causes are normal wear/tear and improper design of the seal | 1
41-96 | 06/09/96 | J1 | LVP | CRUDE | 481.278 |  |  |  | SPI |  |  | Crude oil leak was found on a full encirclement reinforcing tee installed on IPL's Line 2 |  |  | 9.5 |  |  |  |  | TEE | 24" Full Encirclement Reinforcement Tee | ONS | [10 empty] | 1
49-96 | 11/10/96 | J1 | HVP | NGL |  | IDL's Manitoba Pump Station | MAN |  | SPI | JF | OTH | NGL leak due to densitometer pump seal failure | [7 empty] | PUE | Densitometer Pump Seal | PUS | [9 empty] | The basic causes are normal wear/tear and improper design of the seal | 1
51-96 | 15/10/96 | J1 |  |  | 496 | IPL's Right-of-Way between Odessa and Glanavon Pump Stations | SAS |  | D/I | OE | IWE | A contractor's employee fell into a 4ft deep excavation and broke his left leg below the knee | [19 empty] | The basic cause is inadequate assesment of risks from the employee | 1
53-96 | 14/10/96 | J1 | HVP | NGL |  | Regina Terminal Station | SAS |  | SPI | JF | OTH | The inboard seal on Mainline Unit 1.2 failed releasing a trace amount of NGL |  |  | TRACE |  |  |  |  | PUE | Inboard Seal | PUS | [9 empty] | The basic cause is normal wear/tear | 1
55-96 | 25/10/96 | J1 | HVP | NGL |  | IPL's Sask. Pump Station | SAS |  | SPI | JF | OTH | NGL leak due to densitometer pump seal failure | [7 empty] | PUE | Densitometer Pump Seal | PUS | [9 empty] | The basic causes are normal wear/tear and improper design of the seal | 1
57-96 | 07/11/96 | J1 | LVP | CRUDE |  | IPL's Hardisty Alberta Terminal | ALB |  | SPI | JF | OTH | A flange gasket failed resulting oin a release of 11.3m3 of crude oil |  |  | 11.3 |  |  |  |  | FLA | Flange Gasket | PUS | [9 empty] | The basic cause is insufficient torque applied to flange bolts | 1
60-96 | 28/11/96 | J1 | GAS | OTH |  | Line 9 at MP 2157.208, Lot 21/Concession 3/Township of Onasbruck/Stormont County | ONT |  | ESC | PF | OTH | A pinhole with a dent was discovered in the pipeline. Trace amount of nitrogen was released into atmosphere | [7 empty] | PIP | OD=30" WT=0.25" | [10 empty] | The basic cause is inappropriate material for conditions/usage; The OD-WT ratio is too high (120) | 1
63-96 | 10/12/96 | J1 |  |  |  | Milden Pump Station | SAS |  | FIR |  |  | IPL personnel observed a fire coming from the primary disconnect switch located on a 20mva transformer which feeds Unit 1 and 2 at Milden | [7 empty] | OTH | Disconnect Switch | PUS | [10 empty] | 1